## CAP
Repeat | SubformId | Benchmark ID | Benchmark details | Finding details | Recommendation for Immediate Action | Company Plan of Action | Company deadline | Action Taken | Company Progress Status | Repeat
Ongoing
|  |  |  | Member(s) | Lakeshirts, Inc. |  |  |  |  | Option 3
|  |  |  | Country | Pakistan |  |  |  |  | Option 4
|  |  |  | Date of Inspection | 2016-11-14 |  |  | VIEW:VW_report_CAPaction for action table | Planned | Option 5
|  |  | ID |  |  |  |  | hiddenfields for import | In Progress
|  |  | Additional CAP Notes | Exit Language: Lakeshirts ceased sourcing from this supplier at the end of 2016, for internal business reasons. Lakeshirts only constituted a small percentage of the production at this factory, and the company's exit will not cause any retrenchment. Lakeshirts left the factory before the creation of a remediation plan, therefore no remediation plan will appear on the report.
|  | Benchmark ID and details | Question(s) and findingdetails | Recommendation for Immediate Action | Recommendation for Sustainable Improvement | Company Plan of Action | Company deadline (MM-DD-YYYY) | Action Taken | Company Progress Status
| 16657 | XX.6-Please refer to the assessment report for benchmark information. For assessments conducted prior to 2020 benchmark numbers reflect the FLA’s 2011 Workplace Compliance Benchmarks. | 10 - The factory does not maintain resignation letters in resigned workers’ personnel files. Instead workers verbally communicate to management their intent to discontinue their employment. |  |  |  | 06-21-2017 |  | Completed
| 16658 | XX.3-Please refer to the assessment report for benchmark information. For assessments conducted prior to 2020 benchmark numbers reflect the FLA’s 2011 Workplace Compliance Benchmarks. | 6 - 1. The factory does not communicate with workers regarding its policies procedures and their updates on any of the Employment Functions. 2. The factory does not communicate all legal updates to employees. Recent legal updates on sick leave minimum wages life insurance and disability benefit insurance have not been communicated to workers using any channel of communication as is required by law. 3. Abstracts of the applicable labor laws such as the Factory Act and Compensation Act were not posted on notice board in the factory as required by the respective Act. |  |  |  | 06-21-2017 |  | Completed
| 16659 | C.6-All wages including payment for overtime shall be paid directly and in full within legally defined time limits. When no time limits are defined by law compensation shall be paid at least once a month. | 9 - The factory does not pay the current minimum wage. The minimum wage for unskilled workers was increased from PKR 13000 to PKR 14000 (USD 124.02 to USD 133.62) in October 2016 effective as of July 1 2016 (the effective date is backdated). At the time of the assessment (November 2016) the factory was still paying workers PKR 13000 (USD 124.02) per month. Although they were notified of the most recent change in October 2016 the factory had not yet revised its Compensation policy. The factory does not guarantee that piece-rate workers will receive at least the legal minimum wage they do not pay the difference when piece-rate workers’ earnings fall below the minimum wage due to low production volumes. The factory employs 25 piece-rate workers in the ""ideal 5"" section. Three out four piece-rate workers (two machine operators and two helpers) worked 25 days in the month of October 2016 and were paid PKR 11594 (USD 110.66) PKR 11553 (USD 110.26) and PKR 11622 (USD 110.92) respectively. The fourth piece-rate worker worked 12 days and was paid PKR 5250 (USD 50.11). The other 21 piece-rate workers were paid more than PKR 13000 (USD 124.08) per month. However the minimum wage is PKR 14000 (USD 133.62) per month. The factory does not issue termination payouts by the end of the second working day after the date of termination as required by law. A sample of six personnel files showed that one worker was paid six days after resignation one worker was paid 15 days after resignation and four workers were paid after one month after resignation. The legal requirements on sick leave were updated in April 2016 but the factory has not yet revised their Compensation policy to reflect this and continues to follow the old guidelines. Previously the law required the factory to provide 16 days of sick leave with half pay. The revised law of April 2016 requires the factory to provide 16 days of sick leave with full pay. The legal requirements on life insurance coverage were updated in May 2016 but the factory has not yet revised their Compensation policy to reflect this. The insurance coverage requirement increased from PKR 200000 (USD 1908.85) to PKR 500000 (USD 4772.13). The factory’s disability benefit insurance contributions have not been revised from PKR 6500 (USD 62.04) to PKR 7000 (USD 66.81) per worker according to the revised minimum wage. Local law requires disability benefit contributions to be half of the legal minimum wage. The factory does not contribute towards the workers' children education program as required by law. The factory has a policy for providing loans to employees which states that workers who have been employed at the factory for more than one year can request a loan from management. The loan limit and term of repayment are not defined. Repayment amounts are mutually agreed upon between the worker and the employer. A review of the loan records revealed that loans have been provided to eight employees. The workers’ name department loan amount and balance due is recorded. This document is not signed by the workers. Deductions are recorded in the payroll. The factory does not obtain workers’ written consent regarding these deductions. | 1. Pay the minimum wage (PKR 14000 (USD 133.62)). Retroactively compensate any workers who did not receive the minimum wage in the last 12 months. 2. Ensure that piece-rate workers meet the minimum wage even if they do not produce enough pieces to reach a minimum wage through the piece-rate system. Pay these workers the difference. Retroactively compensate any workers who did not receive the minimum wage in the last 12 months 3. Issue termination payouts by the end of the second day after the date of termination as required by law. 4. Provide 16 days of sick leave with full pay as required by law. 5. Increase workers’ life insurance coverage from PKR 200000 to PKR 500000 (USD 1908.85 to USD 4772.13) as required by law. 6. Increase disability benefit insurance contributions as per the revised minimum wage. 7. Contribute PKR 100 (USD .95) annually per worker towards the workers' children education program as required by law. |  |  | 06-21-2017 |  | Completed
| 16660 | XX.9-Please refer to the assessment report for benchmark information. For assessments conducted prior to 2020 benchmark numbers reflect the FLA’s 2011 Workplace Compliance Benchmarks. | 14 - 1. There are no spill response kits in the chemical machine oil and diesel storage and usage areas (the generator room where diesel is stored and used and the main stores where chemicals are stored). 2. The factory has not conducted an environmental risk assessment to identify whether its on-site operations generate any negative environmental impacts. 3. The Environmental Protection policy does not include a statement of the factory management's general support of energy and water efficiency and a commitment to minimize impacts with respect to air emissions waste hazardous materials and other applicable environmental risks. The Environmental Protection procedures do not include: a) procedures on managing the factory’s environmental impact to its surroundings such as reducing air emissions b) procedures to enable workers to raise environmental concerns c) procedures that protect workers who allege environmental violations and d) procedures for reporting environmental emergencies. | Provide spill response kits wherever chemicals are used or stored (i.e. the generator room and the main stores). |  |  | 06-21-2017 |  | Completed
| 16661 | HSE.1-Employers shall comply with all national laws regulations and procedures concerning health safety and the environment. | 1 - 1. The canteen roof is covered in asbestos sheeting. Management has not taken the proper steps to ensure that workers are not exposed to asbestos for example there are no warning signs posted to indicate the presence of asbestos no inspections are carried out to ensure that the asbestos is in good condition (not cracking) and workers have not been trained on what to do if they notice any damage to the asbestos. The assessors did not notice any damage to the asbestos sheeting at the time of the assessment. 2. The eye wash station is located on the ground floor instead of near the stain removing areas located on each floor. 3. Approximately 25% of the 196 sewing machine operators were not using the dust masks they were provided. 4. The factory has not provided helmets to maintenance workers who work at heights. 5. One of the 11 eyelet machines is not equipped with a finger guard. 6. There are no indicators convex mirrors in dead ends reflectors etc. installed to ensure safe driving practices on factory premises. 7. The factory has not implemented a lockout/tagout program by locking out equipment when needed. 8. One electric panel door was left open near the cargo lift posing a risk of electrocution. There is also no danger sign posted on one electric panel in the generator room. 9. Lifting belts have not been provided to workers who lift heavy objects. 10. The factory is not taking proactive steps to reduce repetitive motion stress/injuries. Workers with standing jobs are not provided with anti-fatigue mats. The chairs used by seated workers do not have back rests these workers sit on hard stools while working which could cause bodily injury. The work stations are not adjustable to fit individual workers. | 1. Post warning signs to indicate the presence of asbestos sheeting. Monitor the asbestos sheeting for damage (e.g. cracks) and train workers on what to do if they notice any damage. If the asbestos sheets are replaced in the future (as management indicated they intend to do) ensure that the following precautions are taken: commission a qualified third party to remove the asbestos evacuate and seal off the area during removal and use appropriate equipment and PPE for asbestos removal. 2. Provide eye wash stations near the stain removing areas located on each floor. 3. Train workers on the proper use and maintenance of PPE and monitor compliance to ensure that the sewing machine operators are using the dust masks provided. 4. Provide helmets to maintenance workers who work at heights. 5. Install finger guards on all eyelet machines. 6. Install indicators convex mirrors and reflectors to ensure safe driving practices on factory premises. 7. Implement a lockout/tag out program by locking out equipment when needed. 8. Train workers on electrical safety and monitor compliance to ensure that electrical panel doors are not left open. Post ""Danger"" signs on all electrical panels in the generator room. 9. Provide lifting belts to workers who lift heavy objects. |  |  | 06-21-2017 |  | Completed
| 16662 | HSE.1-Employers shall comply with all national laws regulations and procedures concerning health safety and the environment. | 15 - 1. The factory has not commissioned a third-party fire risk assessment. 2. One fire alarm button in the sample room is obstructed by a table. 3. The food counter in the canteen is placed in front of one of the canteen’s two emergency exits blocking the door. There is also no emergency light above the emergency exit door. 4. Corrugated waste cartons polybag and fabric waste are stored together in an open area near the cargo lift. This poses a fire risk. | 1. Commission a qualified third-party to conduct a fire risk assessment. 2. Ensure that fire alarm buttons are unobstructed at all times. 3. Move the food counter in the canteen and ensure that emergency exits are unobstructed at all times. Install an emergency light above the canteen emergency exit door. 4. Segregate waste material prior to storage and store in a secure and protected area. |  |  | 06-21-2017 |  | Completed
| 16663 | HSE.1-Employers shall comply with all national laws regulations and procedures concerning health safety and the environment. | 2 - 1. Shoes are kept near the cooking areas in the kitchen which poses a hygiene risk. 2. There is no soap or way to dry hands at the canteen sink. 3. Most of the first aid kits in the work areas were missing bandages and burn kits. The first aid kit in the kitchen (where the risk of burns is high) was also missing burn dressings and bandages. 4. No finger protection is provided to canteen workers involved in cutting vegetables using sharp fixed knives. 5. Only one glass has been provided at each drinking water station for workers to share. 6. There is no child care room although it is a legal requirement. 7. The factory only tracks illnesses specifically reported by workers. They do not include records of sick leaves. | 1. Train canteen workers on food safety. Provide an alternate area to store shoes and monitor compliance to ensure that shoes are not kept near the cooking areas. 2. Provide soap and a way to dry hands at the canteen sink. 3. Regularly inspect first aid kits and replace any missing items. 4. Provide finger protection to canteen workers. 5. Provide enough glasses so that workers do not have to share. 6. Provide a child care room for new mothers as legally required. |  |  | 06-21-2017 |  | Completed
| 16664 | XX.7-Please refer to the assessment report for benchmark information. For assessments conducted prior to 2020 benchmark numbers reflect the FLA’s 2011 Workplace Compliance Benchmarks. | 12 - The worker representation structure is not independent from management interference. There are 14 members of the Worker Council one of whom is a management representative who attends all meetings. The other 13 members were freely elected by workers. |  |  |  | 06-21-2017 |  | Completed
| 16665 | HSE.1-Employers shall comply with all national laws regulations and procedures concerning health safety and the environment. | 3 - 1. The Health & Safety procedures do not include a framework for a comprehensive Health & Safety management system including: a) Standard Operating Procedures (SOPs) for each job with a focus on performing the job safely b) a list of equipment that requires lockout/tagout c) steps on how to ensure that all special categories of workers and children in childcare facilities are safely evacuated d) a list of confined spaces that require work permits and the precautions people must take prior to or during entry and stay in each confined space e) measures to protect the reproductive health of employees by minimizing exposure to workplace hazards f) steps that should be taken to protect workers if there is an accidental chemical spill (including identifying those who are responsible for cleaning up the spill) g) a requirement to conduct a fire risk assessment h) the roles and responsibilities of emergency personnel i) how workers can raise Health & Safety concerns j) protection against retaliation for workers who raise Health & Safety concerns and k) the steps for reporting death injury and other Health & Safety issues. 2. The Health & Safety risk assessment conducted by the compliance manager did not analyze the frequency probability and severity of potential risks (e.g. the risk associated with the two cargo lifts). The risk assessment did not cover procedures for controlling and minimizing risk such as administrative procedures (training and awareness) and engineering procedures (taking appropriate actions based on the risks identified and providing the appropriate PPE). 3. The chemical safety risk assessment conducted by the compliance manager did not cover the availability of eye wash stations MSDS spill response kits fire extinguishers “no smoking” signs or the condition of the storage areas. The risk assessment did not cover procedures for controlling and minimizing risk such as administrative procedures (training and awareness) and engineering procedures (taking appropriate actions based on the risks identified and providing the appropriate PPE). 4. The factory has a building stability certificate as legally required however it is not dated to verify when the inspection was done. 5. The factory does not provide comprehensive guidance for external contractors/service providers concerning Health & Safety they only provide some basic safety instructions on the reverse side of the entry passes. |  |  |  | 06-21-2017 |  | Completed
| 16666 | HOW.1.1-Employers shall comply with all national laws regulations and procedures concerning hours of work public holidays and leave. | 11 - 1. The Hours of Work procedures do not cover: a) how a worker should record their attendance if they forget to bring their swipe card to work or misplace the card or b) information on special working hours provisions for special categories of workers including pregnant women and new mothers. 2. The working hours records do not identify pregnant and lactating women. |  |  |  | 06-21-2017 |  | Completed
| 16667 | XX.1-Please refer to the assessment report for benchmark information. For assessments conducted prior to 2020 benchmark numbers reflect the FLA’s 2011 Workplace Compliance Benchmarks. | 4 - 1. The factory does not have a formal written policy on the following Employment Functions: Recruitment & Personnel Development Termination & Retrenchment and Industrial Relations. However there are some documents or systems in place to manage Termination. 2. The factory does not have formal written procedures on the following Employment Functions: Recruitment & Personnel Development Compensation Termination & Retrenchment and Grievance System. However there are some documents or systems in place to manage Compensation Termination and Grievance System. |  |  |  | 06-21-2017 |  | Completed
| 16668 | XX.4-Please refer to the assessment report for benchmark information. For assessments conducted prior to 2020 benchmark numbers reflect the FLA’s 2011 Workplace Compliance Benchmarks. | 7 - 1. 15 out of 25 piece-rate workers stated during interviews that they had not receive a copy of their employment contract although a signed copy is maintained in their personnel files. 2. The factory has not hired any apprentices however local law requires that 20% of the workforce be made up of apprentices. Given the size of the workforce at the time of the assessment the factory would need to employ 80 apprentices. 3. The factory does not conduct performance reviews for any workers. Workers are never promoted. Instead salaries are revised based on informal management decisions. 4. There are no written job descriptions available for any positions at the time of hiring. |  |  |  | 06-21-2017 |  | Completed
| 16669 | XX.5-Please refer to the assessment report for benchmark information. For assessments conducted prior to 2020 benchmark numbers reflect the FLA’s 2011 Workplace Compliance Benchmarks. | 8 - 1. The factory does not have a mechanism for the regular review and update of its policies and procedures. The procedures were all created on January 1 2013 and have not been systematically reviewed since. 2. The factory has not updated its Compensation policy to reflect the October 2016 minimum wage increase the April 2016 change to sick leave requirements or the May 2016 change to life insurance coverage requirements. Neither have they updated the policy to reflect the increase in disability benefit insurance contributions required as a result of the October 2016 wage increase. 3. Merchandising and marketing manager of the factory has signed on all policies and procedures but his responsibilities related to Human Resources (HR) have not been defined anywhere in the system. 4. The responsibilities of management staff responsible for managing the Employment Functions are communicated verbally and not in writing. |  |  |  | 06-21-2017 |  | Completed
| 16670 | XX.2-Please refer to the assessment report for benchmark information. For assessments conducted prior to 2020 benchmark numbers reflect the FLA’s 2011 Workplace Compliance Benchmarks. | 5 - 1. The orientation training provided to new workers does not cover Industrial Relations. 2. The factory does not provide specific training for the relevant supervisors or ongoing training for workers on the following Employment Functions: Recruitment Hiring & Personnel Development Compensation Hours of Work Termination & Retrenchment Industrial Relations Workplace Conduct & Discipline Grievance System and Environmental Protection. 3. The factory does not provide specific training on Workplace Conduct & Discipline for the relevant Human Resources (HR) personnel and administrative staff. 4. Workers with maintenance responsibilities do not receive specific training on maintenance safety. Workers with specific additional responsibilities in responding to an emergency such as an earthquake flood or terrorist attack do not receive training so that they can effectively execute these responsibilities. The general Health & Safety training provided to workers does not cover ergonomics or electrical safety. |  |  |  | 06-21-2017 |  | Completed
| 16671 | XX.8-Please refer to the assessment report for benchmark information. For assessments conducted prior to 2020 benchmark numbers reflect the FLA’s 2011 Workplace Compliance Benchmarks. | 13 - 1. The Workplace Conduct & Discipline procedures do not: a) require all warnings and disciplinary actions to be recorded and maintained in workers’ personnel files b) define the types of misconduct the actions that will be taken for each type of misconduct or the timeline of disciplinary actions c) allow workers to appeal disciplinary actions taken against them d) embody a system of progressive discipline e) require that workers be informed when disciplinary actions are initiated against them f) give workers the right to participate and be heard in disciplinary procedures g) require workers to sign written records of disciplinary actions taken against them or h) require a third party witness to be present during the imposition of disciplinary actions. 2. The factory does not record all warnings and disciplinary actions in workers’ personnel files. At the time of the assessment the factory had not taken disciplinary action against any workers only verbal warnings had been issued but they were not documented. |  |  |  | 06-21-2017 |  | Completed