## CAP
Repeat | SubformId | Benchmark ID | Benchmark details | Finding details | Recommendation for Immediate Action | Company Plan of Action | Company deadline | Action Taken | Company Progress Status | Repeat
Ongoing
|  |  |  | Member(s) | Fast Retailing Co., Ltd. |  |  |  |  | Option 3
|  |  |  | Country | Türkiye |  |  |  |  | Option 4
|  |  |  | Date of Inspection | 2016-11-04 |  |  | VIEW:VW_report_CAPaction for action table | Planned | Option 5
|  |  | ID |  |  |  |  | hiddenfields for import | In Progress
Additional CAP Notes
|  | Benchmark ID and details | Question(s) and findingdetails | Recommendation for Immediate Action | Recommendation for Sustainable Improvement | Company Plan of Action | Company deadline (MM-DD-YYYY) | Action Taken | Company Progress Status
| 16225 | XX.1-Please refer to the assessment report for benchmark information. For assessments conducted prior to 2020 benchmark numbers reflect the FLA’s 2011 Workplace Compliance Benchmarks. | 39 - 1. As the factory does not have a policy or procedures on Compensation Hours of Work Industrial Relations Retrenchment or the Grievance System they are not able to communicate these policies procedures or their updates with the general workforce. 2. As the factory does not have procedures on Personnel Development they are not able to communicate these procedures or their updates with the general workforce. 3. There is a Health & Safety committee with worker representatives; however their responsibilities are limited to Health & Safety issues – such as recognizing and reducing risks etc. The representative system is not otherwise used as a dialogue mechanism between management and workers. 4. The worker integration component is missing across all Employment Functions. This indicates that the factory has not established procedures to request and/or receive workers’ input and feedback regarding the creation implementation and updating of its policies and procedures. Workers are neither systematically integrated nor consulted in decision-making processes. 5. The factory does not arrange consultation meetings with workers or worker representatives before management reaches any final decisions on layoffs. |  |  | Procedures are available |  | 09/21/17 : on-going
| 16226 | XX.2-Please refer to the assessment report for benchmark information. For assessments conducted prior to 2020 benchmark numbers reflect the FLA’s 2011 Workplace Compliance Benchmarks. | 40 - 1. As the factory does not have a policy or procedures on Compensation Hours of Work Industrial Relations Retrenchment or the Grievance System they are not able to communicate these policies procedures or their updates with the general workforce. 2. As the factory does not have procedures on Personnel Development they are not able to communicate these procedures or their updates with the general workforce. 3. There is a Health & Safety committee with worker representatives; however their responsibilities are limited to Health & Safety issues – such as recognizing and reducing risks etc. The representative system is not otherwise used as a dialogue mechanism between management and workers. 4. The worker integration component is missing across all Employment Functions. This indicates that the factory has not established procedures to request and/or receive workers’ input and feedback regarding the creation implementation and updating of its policies and procedures. Workers are neither systematically integrated nor consulted in decision-making processes. 5. The factory does not arrange consultation meetings with workers or worker representatives before management reaches any final decisions on layoffs. |  |  | No action needs to be done since the factory already improved. |  | 1.As per document review the factory had a policy or procedures on Compensation Hours of Work Industrial Relations Retrenchment or the Grievance System they are not able to communicate these policies procedures or their updates with the general workforce. 2.As per document review and worker interviews the factory had procedures on Personnel Development they were able to communicate these procedures or their updates with the general workforce. 3.As per document review and worker interviews The representative system was established used as a dialogue mechanism between management and workers. 4.As per document review and worker interviews the worker integration component was not missing across all Employment Functions. This indicates that the factory has established procedures to request and/or receive workers&rsquo; input and feedback regarding the creation implementation and updating of its policies and procedures. 5.As per document review worker interviews the factory arranged consultation meetings with workers or worker representatives before management reaches any final decisions on layoffs.
| 16227 | XX.3-Please refer to the assessment report for benchmark information. For assessments conducted prior to 2020 benchmark numbers reflect the FLA’s 2011 Workplace Compliance Benchmarks. | 41 - 1. As the factory does not have a policy or procedures on Compensation Hours of Work Industrial Relations Retrenchment or the Grievance System they are not able to communicate these policies procedures or their updates with the general workforce. 2. As the factory does not have procedures on Personnel Development they are not able to communicate these procedures or their updates with the general workforce. 3. There is a Health & Safety committee with worker representatives; however their responsibilities are limited to Health & Safety issues – such as recognizing and reducing risks etc. The representative system is not otherwise used as a dialogue mechanism between management and workers. 4. The worker integration component is missing across all Employment Functions. This indicates that the factory has not established procedures to request and/or receive workers’ input and feedback regarding the creation implementation and updating of its policies and procedures. Workers are neither systematically integrated nor consulted in decision-making processes. 5. The factory does not arrange consultation meetings with workers or worker representatives before management reaches any final decisions on layoffs. |  |  | Procedures are completed.In July first meeting had done with workers representatives |  | 09/21/17 : on-going
| 16228 | XX.4-Please refer to the assessment report for benchmark information. For assessments conducted prior to 2020 benchmark numbers reflect the FLA’s 2011 Workplace Compliance Benchmarks. | 42 - 1. As the factory does not have a policy or procedures on Compensation Hours of Work Industrial Relations Retrenchment or the Grievance System they are not able to communicate these policies procedures or their updates with the general workforce. 2. As the factory does not have procedures on Personnel Development they are not able to communicate these procedures or their updates with the general workforce. 3. There is a Health & Safety committee with worker representatives; however their responsibilities are limited to Health & Safety issues – such as recognizing and reducing risks etc. The representative system is not otherwise used as a dialogue mechanism between management and workers. 4. The worker integration component is missing across all Employment Functions. This indicates that the factory has not established procedures to request and/or receive workers’ input and feedback regarding the creation implementation and updating of its policies and procedures. Workers are neither systematically integrated nor consulted in decision-making processes. 5. The factory does not arrange consultation meetings with workers or worker representatives before management reaches any final decisions on layoffs. |  |  | Procedures are prepared. 2 of workers represantative will join first next meeting of board of discipline. |  | 09/21/17 : on-going
| 16229 | XX.5-Please refer to the assessment report for benchmark information. For assessments conducted prior to 2020 benchmark numbers reflect the FLA’s 2011 Workplace Compliance Benchmarks. | 43 - 1. As the factory does not have a policy or procedures on Compensation Hours of Work Industrial Relations Retrenchment or the Grievance System they are not able to communicate these policies procedures or their updates with the general workforce. 2. As the factory does not have procedures on Personnel Development they are not able to communicate these procedures or their updates with the general workforce. 3. There is a Health & Safety committee with worker representatives; however their responsibilities are limited to Health & Safety issues – such as recognizing and reducing risks etc. The representative system is not otherwise used as a dialogue mechanism between management and workers. 4. The worker integration component is missing across all Employment Functions. This indicates that the factory has not established procedures to request and/or receive workers’ input and feedback regarding the creation implementation and updating of its policies and procedures. Workers are neither systematically integrated nor consulted in decision-making processes. 5. The factory does not arrange consultation meetings with workers or worker representatives before management reaches any final decisions on layoffs. |  |  | Procedures were prepared |  | 09/21/17 : on-going
| 16230 | XX.6-Please refer to the assessment report for benchmark information. For assessments conducted prior to 2020 benchmark numbers reflect the FLA’s 2011 Workplace Compliance Benchmarks. | 44 - 1. As the factory does not have a policy or procedures on Compensation Hours of Work Industrial Relations Retrenchment or the Grievance System they are not able to communicate these policies procedures or their updates with the general workforce. 2. As the factory does not have procedures on Personnel Development they are not able to communicate these procedures or their updates with the general workforce. 3. There is a Health & Safety committee with worker representatives; however their responsibilities are limited to Health & Safety issues – such as recognizing and reducing risks etc. The representative system is not otherwise used as a dialogue mechanism between management and workers. 4. The worker integration component is missing across all Employment Functions. This indicates that the factory has not established procedures to request and/or receive workers’ input and feedback regarding the creation implementation and updating of its policies and procedures. Workers are neither systematically integrated nor consulted in decision-making processes. 5. The factory does not arrange consultation meetings with workers or worker representatives before management reaches any final decisions on layoffs. |  |  | Workers representative names are located on the information board. Workers representive started to join the monthly H&S meeting. |  | 09/21/17 : on-going
| 16231 | C.6-All wages including payment for overtime shall be paid directly and in full within legally defined time limits. When no time limits are defined by law compensation shall be paid at least once a month. | 45 - 1. The factory practices double bookkeeping. One set of records is official and indicates workers’ gross earnings including salaries and overtime. The other set is unofficial and includes bonuses that are paid by hand. 2. Pay slips are not distributed to the workers. Instead the factory has launched an internet-based system which every worker can access with their own password provided by the factory and see their pay slips. However according to worker interviews most of the workers find it impractical and difficult to understand as the factory does not make a computer available to access these documents and many workers do not have a computer or internet access in their homes. 3. There are two workers who have an “execution deduction” deducted from their salaries each month due to legal debts. However the deduction rate is 30% of the workers’ salaries instead of 25% as legally required. 4. The factory does not include meal and transportation allowances in their calculation of termination pay outs as legally required. 5. The factory has an arrangement with a crèche outside of the factory where 30 children between the ages of two and six go. The factory pays the crèche TRY 345 for each child and female workers whose children go to the crèche pay the factory TRY 100 in cash after being paid their monthly salaries. By law the factory should provide free childcare either onsite or offsite to their workers. 6. There is a lactation room in the factory however the factory has yet not sent an information letter to the Employment Agency informing the agency of this provision as legally required. | 1. Cease the practice of double bookkeeping; ensure that the bonus payments are recorded and paid with workers’ salaries and overtime payments. Include bonuses in the calculation of social insurance premiums. 2. Distribute pay slips to workers and ensure that workers understand the content. 3. Ensure that legally mandated deductions do not exceed 25% of workers’ monthly salaries. 4. Ensure that calculations for termination pay outs include transportation and meal allowances as legally required. |  | All Creche expenses are covered by the company |  | 09/21/17 : on-going
| 16232 | C.6-All wages including payment for overtime shall be paid directly and in full within legally defined time limits. When no time limits are defined by law compensation shall be paid at least once a month. | 46 - 1. The factory practices double bookkeeping. One set of records is official and indicates workers’ gross earnings including salaries and overtime. The other set is unofficial and includes bonuses that are paid by hand. 2. Pay slips are not distributed to the workers. Instead the factory has launched an internet-based system which every worker can access with their own password provided by the factory and see their pay slips. However according to worker interviews most of the workers find it impractical and difficult to understand as the factory does not make a computer available to access these documents and many workers do not have a computer or internet access in their homes. 3. There are two workers who have an “execution deduction” deducted from their salaries each month due to legal debts. However the deduction rate is 30% of the workers’ salaries instead of 25% as legally required. 4. The factory does not include meal and transportation allowances in their calculation of termination pay outs as legally required. 5. The factory has an arrangement with a crèche outside of the factory where 30 children between the ages of two and six go. The factory pays the crèche TRY 345 for each child and female workers whose children go to the crèche pay the factory TRY 100 in cash after being paid their monthly salaries. By law the factory should provide free childcare either onsite or offsite to their workers. 6. There is a lactation room in the factory however the factory has yet not sent an information letter to the Employment Agency informing the agency of this provision as legally required. | 1. Cease the practice of double bookkeeping; ensure that the bonus payments are recorded and paid with workers’ salaries and overtime payments. Include bonuses in the calculation of social insurance premiums. 2. Distribute pay slips to workers and ensure that workers understand the content. 3. Ensure that legally mandated deductions do not exceed 25% of workers’ monthly salaries. 4. Ensure that calculations for termination pay outs include transportation and meal allowances as legally required. |  | 1.Performance bonus payments will be included in payroll as market shopping voucher in July. 4.It will be reassessed in the future depending on the budget. |  | 2.As per worker interviews pay slips were given to all employees. 3.As per document review and worker interviews workers who have an &ldquo;execution deduction&rdquo; deducted from their salaries each month due to legal debts as legally required. 5.As per document review and worker interviews the factory provided free childcare no payment was taken for childcare. 6.As per document review and management interview the factory sent an information letter to the Employment Agency informing the agency of this provision as legally required.
| 16233 | C.6-All wages including payment for overtime shall be paid directly and in full within legally defined time limits. When no time limits are defined by law compensation shall be paid at least once a month. | 47 - 1. The factory practices double bookkeeping. One set of records is official and indicates workers’ gross earnings including salaries and overtime. The other set is unofficial and includes bonuses that are paid by hand. 2. Pay slips are not distributed to the workers. Instead the factory has launched an internet-based system which every worker can access with their own password provided by the factory and see their pay slips. However according to worker interviews most of the workers find it impractical and difficult to understand as the factory does not make a computer available to access these documents and many workers do not have a computer or internet access in their homes. 3. There are two workers who have an “execution deduction” deducted from their salaries each month due to legal debts. However the deduction rate is 30% of the workers’ salaries instead of 25% as legally required. 4. The factory does not include meal and transportation allowances in their calculation of termination pay outs as legally required. 5. The factory has an arrangement with a crèche outside of the factory where 30 children between the ages of two and six go. The factory pays the crèche TRY 345 for each child and female workers whose children go to the crèche pay the factory TRY 100 in cash after being paid their monthly salaries. By law the factory should provide free childcare either onsite or offsite to their workers. 6. There is a lactation room in the factory however the factory has yet not sent an information letter to the Employment Agency informing the agency of this provision as legally required. | 1. Cease the practice of double bookkeeping; ensure that the bonus payments are recorded and paid with workers’ salaries and overtime payments. Include bonuses in the calculation of social insurance premiums. 2. Distribute pay slips to workers and ensure that workers understand the content. 3. Ensure that legally mandated deductions do not exceed 25% of workers’ monthly salaries. 4. Ensure that calculations for termination pay outs include transportation and meal allowances as legally required. |  | Employent Agency said it isnot necessary for which company has lactation room before publishing law. Date is August 2013 |  | 09/21/17 : on-going
| 16234 | C.6-All wages including payment for overtime shall be paid directly and in full within legally defined time limits. When no time limits are defined by law compensation shall be paid at least once a month. | 48 - 1. The factory practices double bookkeeping. One set of records is official and indicates workers’ gross earnings including salaries and overtime. The other set is unofficial and includes bonuses that are paid by hand. 2. Pay slips are not distributed to the workers. Instead the factory has launched an internet-based system which every worker can access with their own password provided by the factory and see their pay slips. However according to worker interviews most of the workers find it impractical and difficult to understand as the factory does not make a computer available to access these documents and many workers do not have a computer or internet access in their homes. 3. There are two workers who have an “execution deduction” deducted from their salaries each month due to legal debts. However the deduction rate is 30% of the workers’ salaries instead of 25% as legally required. 4. The factory does not include meal and transportation allowances in their calculation of termination pay outs as legally required. 5. The factory has an arrangement with a crèche outside of the factory where 30 children between the ages of two and six go. The factory pays the crèche TRY 345 for each child and female workers whose children go to the crèche pay the factory TRY 100 in cash after being paid their monthly salaries. By law the factory should provide free childcare either onsite or offsite to their workers. 6. There is a lactation room in the factory however the factory has yet not sent an information letter to the Employment Agency informing the agency of this provision as legally required. | 1. Cease the practice of double bookkeeping; ensure that the bonus payments are recorded and paid with workers’ salaries and overtime payments. Include bonuses in the calculation of social insurance premiums. 2. Distribute pay slips to workers and ensure that workers understand the content. 3. Ensure that legally mandated deductions do not exceed 25% of workers’ monthly salaries. 4. Ensure that calculations for termination pay outs include transportation and meal allowances as legally required. |  | New Procedures are preperad. (NC-21A/B) Discussing to getting budget for 2018 with management.We are planning to give bonus via bank. |  | 09/21/17 : on-going
| 16235 | C.6-All wages including payment for overtime shall be paid directly and in full within legally defined time limits. When no time limits are defined by law compensation shall be paid at least once a month. | 49 - 1. The factory practices double bookkeeping. One set of records is official and indicates workers’ gross earnings including salaries and overtime. The other set is unofficial and includes bonuses that are paid by hand. 2. Pay slips are not distributed to the workers. Instead the factory has launched an internet-based system which every worker can access with their own password provided by the factory and see their pay slips. However according to worker interviews most of the workers find it impractical and difficult to understand as the factory does not make a computer available to access these documents and many workers do not have a computer or internet access in their homes. 3. There are two workers who have an “execution deduction” deducted from their salaries each month due to legal debts. However the deduction rate is 30% of the workers’ salaries instead of 25% as legally required. 4. The factory does not include meal and transportation allowances in their calculation of termination pay outs as legally required. 5. The factory has an arrangement with a crèche outside of the factory where 30 children between the ages of two and six go. The factory pays the crèche TRY 345 for each child and female workers whose children go to the crèche pay the factory TRY 100 in cash after being paid their monthly salaries. By law the factory should provide free childcare either onsite or offsite to their workers. 6. There is a lactation room in the factory however the factory has yet not sent an information letter to the Employment Agency informing the agency of this provision as legally required. | 1. Cease the practice of double bookkeeping; ensure that the bonus payments are recorded and paid with workers’ salaries and overtime payments. Include bonuses in the calculation of social insurance premiums. 2. Distribute pay slips to workers and ensure that workers understand the content. 3. Ensure that legally mandated deductions do not exceed 25% of workers’ monthly salaries. 4. Ensure that calculations for termination pay outs include transportation and meal allowances as legally required. |  | Procedures and budgets are prepairing. |  | 09/21/17 : on-going
| 16236 | C.6-All wages including payment for overtime shall be paid directly and in full within legally defined time limits. When no time limits are defined by law compensation shall be paid at least once a month. | 50 - 1. The factory practices double bookkeeping. One set of records is official and indicates workers’ gross earnings including salaries and overtime. The other set is unofficial and includes bonuses that are paid by hand. 2. Pay slips are not distributed to the workers. Instead the factory has launched an internet-based system which every worker can access with their own password provided by the factory and see their pay slips. However according to worker interviews most of the workers find it impractical and difficult to understand as the factory does not make a computer available to access these documents and many workers do not have a computer or internet access in their homes. 3. There are two workers who have an “execution deduction” deducted from their salaries each month due to legal debts. However the deduction rate is 30% of the workers’ salaries instead of 25% as legally required. 4. The factory does not include meal and transportation allowances in their calculation of termination pay outs as legally required. 5. The factory has an arrangement with a crèche outside of the factory where 30 children between the ages of two and six go. The factory pays the crèche TRY 345 for each child and female workers whose children go to the crèche pay the factory TRY 100 in cash after being paid their monthly salaries. By law the factory should provide free childcare either onsite or offsite to their workers. 6. There is a lactation room in the factory however the factory has yet not sent an information letter to the Employment Agency informing the agency of this provision as legally required. | 1. Cease the practice of double bookkeeping; ensure that the bonus payments are recorded and paid with workers’ salaries and overtime payments. Include bonuses in the calculation of social insurance premiums. 2. Distribute pay slips to workers and ensure that workers understand the content. 3. Ensure that legally mandated deductions do not exceed 25% of workers’ monthly salaries. 4. Ensure that calculations for termination pay outs include transportation and meal allowances as legally required. |  | The system was corrected so that there would be no deductions from employees' salaries. We set our deduction rate is %25. |  | 09/21/17 : on-going
| 16237 | C.6-All wages including payment for overtime shall be paid directly and in full within legally defined time limits. When no time limits are defined by law compensation shall be paid at least once a month. | 51 - 1. The factory practices double bookkeeping. One set of records is official and indicates workers’ gross earnings including salaries and overtime. The other set is unofficial and includes bonuses that are paid by hand. 2. Pay slips are not distributed to the workers. Instead the factory has launched an internet-based system which every worker can access with their own password provided by the factory and see their pay slips. However according to worker interviews most of the workers find it impractical and difficult to understand as the factory does not make a computer available to access these documents and many workers do not have a computer or internet access in their homes. 3. There are two workers who have an “execution deduction” deducted from their salaries each month due to legal debts. However the deduction rate is 30% of the workers’ salaries instead of 25% as legally required. 4. The factory does not include meal and transportation allowances in their calculation of termination pay outs as legally required. 5. The factory has an arrangement with a crèche outside of the factory where 30 children between the ages of two and six go. The factory pays the crèche TRY 345 for each child and female workers whose children go to the crèche pay the factory TRY 100 in cash after being paid their monthly salaries. By law the factory should provide free childcare either onsite or offsite to their workers. 6. There is a lactation room in the factory however the factory has yet not sent an information letter to the Employment Agency informing the agency of this provision as legally required. | 1. Cease the practice of double bookkeeping; ensure that the bonus payments are recorded and paid with workers’ salaries and overtime payments. Include bonuses in the calculation of social insurance premiums. 2. Distribute pay slips to workers and ensure that workers understand the content. 3. Ensure that legally mandated deductions do not exceed 25% of workers’ monthly salaries. 4. Ensure that calculations for termination pay outs include transportation and meal allowances as legally required. |  | we started to print out pay slip to whom wants.That decision was inform all workes via hang information on fingerprint machines. And additional we are communicating with company of our HR portal. They are trying to made a kiosk which can print pay slip by worker's fingerprint. |  | 09/21/17 : on-going
| 16238 | XX.10-Please refer to the assessment report for benchmark information. For assessments conducted prior to 2020 benchmark numbers reflect the FLA’s 2011 Workplace Compliance Benchmarks. | 55 - 1. The factory segregates its waste by type and the location of each type of waste with signs in a closed storage area. However some of the florescent bulbs and waste oil bins are not placed in the appropriate waste storage area; they are instead placed next to each other in front of the waste storage area. Moreover waste florescent bulbs were stored in the maintenance room. 2. Oil-contaminated water that comes out of the dryer and compressor is directly discharged on the ground outdoors. 3. There is no secondary container for the generator’s fuel oil tank. | 1. Ensure that all waste is stored according to its type. Train the relevant workers on environmental protection and waste management. 2. Collect oil-contaminated water that comes out of the dryer and compressor and ensure that it is not discharged to the environment. 3. Provide a secondary container for the generator’s fuel oil tank |  | The dryer was repaired. mixed water and oil due to machine had a problem. It was solved. In factory we have a closed area for collecting oil-contaminated. All contaminated oil is collecting in that area. |  | 09/21/17 : on-going
| 16239 | XX.7-Please refer to the assessment report for benchmark information. For assessments conducted prior to 2020 benchmark numbers reflect the FLA’s 2011 Workplace Compliance Benchmarks. | 52 - 1. The factory segregates its waste by type and the location of each type of waste with signs in a closed storage area. However some of the florescent bulbs and waste oil bins are not placed in the appropriate waste storage area; they are instead placed next to each other in front of the waste storage area. Moreover waste florescent bulbs were stored in the maintenance room. 2. Oil-contaminated water that comes out of the dryer and compressor is directly discharged on the ground outdoors. 3. There is no secondary container for the generator’s fuel oil tank. | 1. Ensure that all waste is stored according to its type. Train the relevant workers on environmental protection and waste management. 2. Collect oil-contaminated water that comes out of the dryer and compressor and ensure that it is not discharged to the environment. 3. Provide a secondary container for the generator’s fuel oil tank |  | It will be ready end of December |  | 09/21/17 : on-going
| 16240 | XX.8-Please refer to the assessment report for benchmark information. For assessments conducted prior to 2020 benchmark numbers reflect the FLA’s 2011 Workplace Compliance Benchmarks. | 53 - 1. The factory segregates its waste by type and the location of each type of waste with signs in a closed storage area. However some of the florescent bulbs and waste oil bins are not placed in the appropriate waste storage area; they are instead placed next to each other in front of the waste storage area. Moreover waste florescent bulbs were stored in the maintenance room. 2. Oil-contaminated water that comes out of the dryer and compressor is directly discharged on the ground outdoors. 3. There is no secondary container for the generator’s fuel oil tank. | 1. Ensure that all waste is stored according to its type. Train the relevant workers on environmental protection and waste management. 2. Collect oil-contaminated water that comes out of the dryer and compressor and ensure that it is not discharged to the environment. 3. Provide a secondary container for the generator’s fuel oil tank |  | taff alerted.Waste to be transported to waste site |  | 09/21/17 : on-going
| 16241 | XX.9-Please refer to the assessment report for benchmark information. For assessments conducted prior to 2020 benchmark numbers reflect the FLA’s 2011 Workplace Compliance Benchmarks. | 54 - 1. The factory segregates its waste by type and the location of each type of waste with signs in a closed storage area. However some of the florescent bulbs and waste oil bins are not placed in the appropriate waste storage area; they are instead placed next to each other in front of the waste storage area. Moreover waste florescent bulbs were stored in the maintenance room. 2. Oil-contaminated water that comes out of the dryer and compressor is directly discharged on the ground outdoors. 3. There is no secondary container for the generator’s fuel oil tank. | 1. Ensure that all waste is stored according to its type. Train the relevant workers on environmental protection and waste management. 2. Collect oil-contaminated water that comes out of the dryer and compressor and ensure that it is not discharged to the environment. 3. Provide a secondary container for the generator’s fuel oil tank |  | No action needs to be done since the factory already improved. |  | 1. As per site tour the factory segregates its waste by type and the location of each type of waste with signed in a closed storage area properly. 2.As per site tour no oil-contamination was observed water that comes out of the dryer and compressor. 3.As per site tour secondary container for the generator&rsquo;s fuel oil tank was provided.
| 16242 | XX.11-Please refer to the assessment report for benchmark information. For assessments conducted prior to 2020 benchmark numbers reflect the FLA’s 2011 Workplace Compliance Benchmarks. | 56 - 1. Apart from direct verbal communication with supervisors the factory does not have an effective Grievance System. The suggestion boxes are located at the entrance to the production area instead of somewhere that would ensure confidentiality such as locker rooms or restrooms. Therefore workers do not use the suggestion boxes. In addition to the suggestion boxes the factory provides workers with an email address for conveying any grievances or suggestions. However this system is also ineffective since workers do not all have access to email the process is not anonymous and the emails are delivered to a different factory with the same owner. 2. The factory does not maintain documentation in relation to the grievance process. |  |  | Complaints procedure available and Records are kept |  | 09/21/17 : on-going
| 16243 | XX.12-Please refer to the assessment report for benchmark information. For assessments conducted prior to 2020 benchmark numbers reflect the FLA’s 2011 Workplace Compliance Benchmarks. | 57 - 1. Apart from direct verbal communication with supervisors the factory does not have an effective Grievance System. The suggestion boxes are located at the entrance to the production area instead of somewhere that would ensure confidentiality such as locker rooms or restrooms. Therefore workers do not use the suggestion boxes. In addition to the suggestion boxes the factory provides workers with an email address for conveying any grievances or suggestions. However this system is also ineffective since workers do not all have access to email the process is not anonymous and the emails are delivered to a different factory with the same owner. 2. The factory does not maintain documentation in relation to the grievance process. |  |  | No action needs to be done since the factory already improved. |  | 1.As per site tour document review and worker interviews there were a lot of complaint boxes located different area in the company premeters the grievance system worked effectively in the company. 2.As per document review the factory maintained documentation in relation to the grievance process.
| 16244 | XX.13-Please refer to the assessment report for benchmark information. For assessments conducted prior to 2020 benchmark numbers reflect the FLA’s 2011 Workplace Compliance Benchmarks. | 58 - 1. Apart from direct verbal communication with supervisors the factory does not have an effective Grievance System. The suggestion boxes are located at the entrance to the production area instead of somewhere that would ensure confidentiality such as locker rooms or restrooms. Therefore workers do not use the suggestion boxes. In addition to the suggestion boxes the factory provides workers with an email address for conveying any grievances or suggestions. However this system is also ineffective since workers do not all have access to email the process is not anonymous and the emails are delivered to a different factory with the same owner. 2. The factory does not maintain documentation in relation to the grievance process. |  |  | Set new grievance systems and procedure. Both of electronic system and box let to take which unname of grievance.For opening box We set a new commitee which includes 2 workers representatives.Also we set a new box area in more confidential. (NC33c) |  | 09/21/17 : on-going
| 16245 | HSE.1-Employers shall comply with all national laws regulations and procedures concerning health safety and the environment. | 60 - 1. Electrical panels in the sewing section are covered in dust and lint. Furthermore the cover of electrical panel is open. 2. The water tank is located in a small underground room. The entrance to this room (located in the garden) looks like a hole in the ground with a ladder to go underground. There is a cover over the hole to prevent falling. However there is no sign posted indicating that it is a confined space and therefore the factory does not have the corresponding procedures or equipment to respond to an emergency rescue. 3. The second operator who operates the steam boilers does not have a boiler usage certificate as per legal requirements. | 1. Keep electrical panels free from any dust and lint. Instruct workers to keep the switchboards’ covers closed. Regularly monitor to ensure compliance. 2. Post a warning sign near the entrance to the underground room in the garden. Create a procedure for working in confined spaces. Ensure that the risk assessment identifies all risks related to confined spaces. 3. Ensure that all steam boiler operators have the legally required boiler usage certificates. |  | After assesment a new door was built. Now it doesnt look like a hole. (NC48a) Alarm installed in water tank room. Also we revised our emergency rescue plans for adding water tank. (NC48b/c) |  | 09/21/17 : on-going
| 16246 | HSE.1-Employers shall comply with all national laws regulations and procedures concerning health safety and the environment. | 1 - 1. The fire alarm control panel in the main building located in the sewing and cutting sections is broken. There is no light on the control panel indicating the fire alarm is on. 2. The smoke detectors in the main building do not function. 3. The fire alarm is not loud enough in main building; it was especially difficult to hear in the cutting section. Additionally some fire alarm buttons which have an older design that require breaking glass to trigger the alarm. It is necessary to continuously push the button of these fire alarms for the siren to sound. 4. There is no fire alarm button in the fabric warehouse in the sewing section. 5. Twenty percent (20%) of the factory’s fire extinguishers and fire hoses are obstructed with tables and goods throughout the factory. One fire extinguisher and fire hose are placed between shelves in the fabric warehouse making them difficult to see and access easily. 6. The emergency evacuation map posted at the entrance to the main building does not reflect the actual layout of the factory. The placement of the departments and emergency exit routes on the map do not guide workers in the correct direction. 7. The factory does not conduct fire drills during the night shift. 8. There is no system in place to account for all workers during an emergency evacuation. 9. There are lunch tables in front of the emergency exit doors in the canteen which could prevent safe evacuation. 10. Fabric rolls are blocking the emergency exits in the basement of the second building where fabric rolls are unloaded from trucks. | 1. Repair the fire alarm control panel in the main building and regularly inspect the panel to ensure it is in good working condition. 2. Repair the smoke detectors in the main building and regularly inspect the smoke detectors to ensure they are in good working condition. 3. Ensure that fire alarm is loud enough to hear in every section of the factory. Repair or replace the fire alarm buttons to ensure that the alarm rings easily in case of emergency. 4. Install a fire alarm in the fabric warehouse. 5. Locate fire extinguishers and hoses in places which are easily visible and ensure they remain unobstructed. Regularly monitor for compliance. 6. Ensure that all emergency evacuation plans reflect the actual layout of the factory and correctly direct workers to the emergency exits. 7. Conduct fire drills for the night shift. Ensure that all details are observed and recorded during the fire drills. 8. Develop a system to account for all workers during an evacuation. 9. Keep all emergency exits free from any obstruction including tables and fabric rolls. |  | No action needs to be done since the factory already improved. |  | 1.As per site tour the fire alarm control panel was in good condition and the system was working properly. 2.The smoke detectors in the main building was in good condition. 3.As per site tour the fire alarm was loud enough in main building; it was especially enough to hear in the cutting section. Additionally all fire alarms were in condition and they were working. 4.As per site tour fire alarm button was provided in the fabric warehouse in the sewing section. 5.As per site tour all all fire extinguishers and fire hoses were available and easily accessible. 6.As per site tour all evacuation plans reflect the current layout of the company. 7.As per document review and worker interviews the factory conducted fire drills during the night shift. 8.As per document review and worker interviews the company was established and implemented to account for all workers during an emergency evacuation. 9.As per site tour all emergency exit doors including lunch halls' were accessible and not blocked. 10.As per site tour all emergency exit doors were accessible and not blocked.
| 16247 | HSE.1-Employers shall comply with all national laws regulations and procedures concerning health safety and the environment. | 2 - 1. The fire alarm control panel in the main building located in the sewing and cutting sections is broken. There is no light on the control panel indicating the fire alarm is on. 2. The smoke detectors in the main building do not function. 3. The fire alarm is not loud enough in main building; it was especially difficult to hear in the cutting section. Additionally some fire alarm buttons which have an older design that require breaking glass to trigger the alarm. It is necessary to continuously push the button of these fire alarms for the siren to sound. 4. There is no fire alarm button in the fabric warehouse in the sewing section. 5. Twenty percent (20%) of the factory’s fire extinguishers and fire hoses are obstructed with tables and goods throughout the factory. One fire extinguisher and fire hose are placed between shelves in the fabric warehouse making them difficult to see and access easily. 6. The emergency evacuation map posted at the entrance to the main building does not reflect the actual layout of the factory. The placement of the departments and emergency exit routes on the map do not guide workers in the correct direction. 7. The factory does not conduct fire drills during the night shift. 8. There is no system in place to account for all workers during an emergency evacuation. 9. There are lunch tables in front of the emergency exit doors in the canteen which could prevent safe evacuation. 10. Fabric rolls are blocking the emergency exits in the basement of the second building where fabric rolls are unloaded from trucks. | 1. Repair the fire alarm control panel in the main building and regularly inspect the panel to ensure it is in good working condition. 2. Repair the smoke detectors in the main building and regularly inspect the smoke detectors to ensure they are in good working condition. 3. Ensure that fire alarm is loud enough to hear in every section of the factory. Repair or replace the fire alarm buttons to ensure that the alarm rings easily in case of emergency. 4. Install a fire alarm in the fabric warehouse. 5. Locate fire extinguishers and hoses in places which are easily visible and ensure they remain unobstructed. Regularly monitor for compliance. 6. Ensure that all emergency evacuation plans reflect the actual layout of the factory and correctly direct workers to the emergency exits. 7. Conduct fire drills for the night shift. Ensure that all details are observed and recorded during the fire drills. 8. Develop a system to account for all workers during an evacuation. 9. Keep all emergency exits free from any obstruction including tables and fabric rolls. |  | Price quotation received valuation phase |  | 09/21/17 : on-going
| 16248 | HSE.1-Employers shall comply with all national laws regulations and procedures concerning health safety and the environment. | 3 - 1. The fire alarm control panel in the main building located in the sewing and cutting sections is broken. There is no light on the control panel indicating the fire alarm is on. 2. The smoke detectors in the main building do not function. 3. The fire alarm is not loud enough in main building; it was especially difficult to hear in the cutting section. Additionally some fire alarm buttons which have an older design that require breaking glass to trigger the alarm. It is necessary to continuously push the button of these fire alarms for the siren to sound. 4. There is no fire alarm button in the fabric warehouse in the sewing section. 5. Twenty percent (20%) of the factory’s fire extinguishers and fire hoses are obstructed with tables and goods throughout the factory. One fire extinguisher and fire hose are placed between shelves in the fabric warehouse making them difficult to see and access easily. 6. The emergency evacuation map posted at the entrance to the main building does not reflect the actual layout of the factory. The placement of the departments and emergency exit routes on the map do not guide workers in the correct direction. 7. The factory does not conduct fire drills during the night shift. 8. There is no system in place to account for all workers during an emergency evacuation. 9. There are lunch tables in front of the emergency exit doors in the canteen which could prevent safe evacuation. 10. Fabric rolls are blocking the emergency exits in the basement of the second building where fabric rolls are unloaded from trucks. | 1. Repair the fire alarm control panel in the main building and regularly inspect the panel to ensure it is in good working condition. 2. Repair the smoke detectors in the main building and regularly inspect the smoke detectors to ensure they are in good working condition. 3. Ensure that fire alarm is loud enough to hear in every section of the factory. Repair or replace the fire alarm buttons to ensure that the alarm rings easily in case of emergency. 4. Install a fire alarm in the fabric warehouse. 5. Locate fire extinguishers and hoses in places which are easily visible and ensure they remain unobstructed. Regularly monitor for compliance. 6. Ensure that all emergency evacuation plans reflect the actual layout of the factory and correctly direct workers to the emergency exits. 7. Conduct fire drills for the night shift. Ensure that all details are observed and recorded during the fire drills. 8. Develop a system to account for all workers during an evacuation. 9. Keep all emergency exits free from any obstruction including tables and fabric rolls. |  | Removed rolls in front of the emergency exit door. Also we are preparing a new line for pedestrians. |  | 09/21/17 : on-going
| 16249 | HSE.1-Employers shall comply with all national laws regulations and procedures concerning health safety and the environment. | 4 - 1. The fire alarm control panel in the main building located in the sewing and cutting sections is broken. There is no light on the control panel indicating the fire alarm is on. 2. The smoke detectors in the main building do not function. 3. The fire alarm is not loud enough in main building; it was especially difficult to hear in the cutting section. Additionally some fire alarm buttons which have an older design that require breaking glass to trigger the alarm. It is necessary to continuously push the button of these fire alarms for the siren to sound. 4. There is no fire alarm button in the fabric warehouse in the sewing section. 5. Twenty percent (20%) of the factory’s fire extinguishers and fire hoses are obstructed with tables and goods throughout the factory. One fire extinguisher and fire hose are placed between shelves in the fabric warehouse making them difficult to see and access easily. 6. The emergency evacuation map posted at the entrance to the main building does not reflect the actual layout of the factory. The placement of the departments and emergency exit routes on the map do not guide workers in the correct direction. 7. The factory does not conduct fire drills during the night shift. 8. There is no system in place to account for all workers during an emergency evacuation. 9. There are lunch tables in front of the emergency exit doors in the canteen which could prevent safe evacuation. 10. Fabric rolls are blocking the emergency exits in the basement of the second building where fabric rolls are unloaded from trucks. | 1. Repair the fire alarm control panel in the main building and regularly inspect the panel to ensure it is in good working condition. 2. Repair the smoke detectors in the main building and regularly inspect the smoke detectors to ensure they are in good working condition. 3. Ensure that fire alarm is loud enough to hear in every section of the factory. Repair or replace the fire alarm buttons to ensure that the alarm rings easily in case of emergency. 4. Install a fire alarm in the fabric warehouse. 5. Locate fire extinguishers and hoses in places which are easily visible and ensure they remain unobstructed. Regularly monitor for compliance. 6. Ensure that all emergency evacuation plans reflect the actual layout of the factory and correctly direct workers to the emergency exits. 7. Conduct fire drills for the night shift. Ensure that all details are observed and recorded during the fire drills. 8. Develop a system to account for all workers during an evacuation. 9. Keep all emergency exits free from any obstruction including tables and fabric rolls. |  | Removed tables in front of the emergency exit door |  | 09/21/17 : on-going
| 16250 | HSE.1-Employers shall comply with all national laws regulations and procedures concerning health safety and the environment. | 5 - 1. The fire alarm control panel in the main building located in the sewing and cutting sections is broken. There is no light on the control panel indicating the fire alarm is on. 2. The smoke detectors in the main building do not function. 3. The fire alarm is not loud enough in main building; it was especially difficult to hear in the cutting section. Additionally some fire alarm buttons which have an older design that require breaking glass to trigger the alarm. It is necessary to continuously push the button of these fire alarms for the siren to sound. 4. There is no fire alarm button in the fabric warehouse in the sewing section. 5. Twenty percent (20%) of the factory’s fire extinguishers and fire hoses are obstructed with tables and goods throughout the factory. One fire extinguisher and fire hose are placed between shelves in the fabric warehouse making them difficult to see and access easily. 6. The emergency evacuation map posted at the entrance to the main building does not reflect the actual layout of the factory. The placement of the departments and emergency exit routes on the map do not guide workers in the correct direction. 7. The factory does not conduct fire drills during the night shift. 8. There is no system in place to account for all workers during an emergency evacuation. 9. There are lunch tables in front of the emergency exit doors in the canteen which could prevent safe evacuation. 10. Fabric rolls are blocking the emergency exits in the basement of the second building where fabric rolls are unloaded from trucks. | 1. Repair the fire alarm control panel in the main building and regularly inspect the panel to ensure it is in good working condition. 2. Repair the smoke detectors in the main building and regularly inspect the smoke detectors to ensure they are in good working condition. 3. Ensure that fire alarm is loud enough to hear in every section of the factory. Repair or replace the fire alarm buttons to ensure that the alarm rings easily in case of emergency. 4. Install a fire alarm in the fabric warehouse. 5. Locate fire extinguishers and hoses in places which are easily visible and ensure they remain unobstructed. Regularly monitor for compliance. 6. Ensure that all emergency evacuation plans reflect the actual layout of the factory and correctly direct workers to the emergency exits. 7. Conduct fire drills for the night shift. Ensure that all details are observed and recorded during the fire drills. 8. Develop a system to account for all workers during an evacuation. 9. Keep all emergency exits free from any obstruction including tables and fabric rolls. |  | Supervisors were trained about importance of this issue and periodic checks. We built new bars for prevent obstructing with anything. (NC54a/b) Also for issue in cutting section we built new bar for seem and access easily.(NC54c) |  | 09/21/17 : on-going
| 16251 | HSE.1-Employers shall comply with all national laws regulations and procedures concerning health safety and the environment. | 6 - 1. The fire alarm control panel in the main building located in the sewing and cutting sections is broken. There is no light on the control panel indicating the fire alarm is on. 2. The smoke detectors in the main building do not function. 3. The fire alarm is not loud enough in main building; it was especially difficult to hear in the cutting section. Additionally some fire alarm buttons which have an older design that require breaking glass to trigger the alarm. It is necessary to continuously push the button of these fire alarms for the siren to sound. 4. There is no fire alarm button in the fabric warehouse in the sewing section. 5. Twenty percent (20%) of the factory’s fire extinguishers and fire hoses are obstructed with tables and goods throughout the factory. One fire extinguisher and fire hose are placed between shelves in the fabric warehouse making them difficult to see and access easily. 6. The emergency evacuation map posted at the entrance to the main building does not reflect the actual layout of the factory. The placement of the departments and emergency exit routes on the map do not guide workers in the correct direction. 7. The factory does not conduct fire drills during the night shift. 8. There is no system in place to account for all workers during an emergency evacuation. 9. There are lunch tables in front of the emergency exit doors in the canteen which could prevent safe evacuation. 10. Fabric rolls are blocking the emergency exits in the basement of the second building where fabric rolls are unloaded from trucks. | 1. Repair the fire alarm control panel in the main building and regularly inspect the panel to ensure it is in good working condition. 2. Repair the smoke detectors in the main building and regularly inspect the smoke detectors to ensure they are in good working condition. 3. Ensure that fire alarm is loud enough to hear in every section of the factory. Repair or replace the fire alarm buttons to ensure that the alarm rings easily in case of emergency. 4. Install a fire alarm in the fabric warehouse. 5. Locate fire extinguishers and hoses in places which are easily visible and ensure they remain unobstructed. Regularly monitor for compliance. 6. Ensure that all emergency evacuation plans reflect the actual layout of the factory and correctly direct workers to the emergency exits. 7. Conduct fire drills for the night shift. Ensure that all details are observed and recorded during the fire drills. 8. Develop a system to account for all workers during an evacuation. 9. Keep all emergency exits free from any obstruction including tables and fabric rolls. |  | system is working. Alarm and light is working.But cause is light control panel. We are working on this. |  | 09/21/17 : on-going
| 16252 | HSE.1-Employers shall comply with all national laws regulations and procedures concerning health safety and the environment. | 61 - 1. Electrical panels in the sewing section are covered in dust and lint. Furthermore the cover of electrical panel is open. 2. The water tank is located in a small underground room. The entrance to this room (located in the garden) looks like a hole in the ground with a ladder to go underground. There is a cover over the hole to prevent falling. However there is no sign posted indicating that it is a confined space and therefore the factory does not have the corresponding procedures or equipment to respond to an emergency rescue. 3. The second operator who operates the steam boilers does not have a boiler usage certificate as per legal requirements. | 1. Keep electrical panels free from any dust and lint. Instruct workers to keep the switchboards’ covers closed. Regularly monitor to ensure compliance. 2. Post a warning sign near the entrance to the underground room in the garden. Create a procedure for working in confined spaces. Ensure that the risk assessment identifies all risks related to confined spaces. 3. Ensure that all steam boiler operators have the legally required boiler usage certificates. |  | No action needs to be done since the factory already improved. |  | 1.As per site tour electrical panels in the sewing section were not covered in dust and lint. Furthermore the cover of electrical panels were not open. 2.As per site tour the water tank was covered with protective materials and all necessary signs posted indicating that it was a confined space. 3.As per document review and worker interviews all operators who operates the steam boiler had necessary certificates.
| 16253 | HSE.1-Employers shall comply with all national laws regulations and procedures concerning health safety and the environment. | 62 - 1. Electrical panels in the sewing section are covered in dust and lint. Furthermore the cover of electrical panel is open. 2. The water tank is located in a small underground room. The entrance to this room (located in the garden) looks like a hole in the ground with a ladder to go underground. There is a cover over the hole to prevent falling. However there is no sign posted indicating that it is a confined space and therefore the factory does not have the corresponding procedures or equipment to respond to an emergency rescue. 3. The second operator who operates the steam boilers does not have a boiler usage certificate as per legal requirements. | 1. Keep electrical panels free from any dust and lint. Instruct workers to keep the switchboards’ covers closed. Regularly monitor to ensure compliance. 2. Post a warning sign near the entrance to the underground room in the garden. Create a procedure for working in confined spaces. Ensure that the risk assessment identifies all risks related to confined spaces. 3. Ensure that all steam boiler operators have the legally required boiler usage certificates. |  | Steam boiler operators have to has a boiler usage certificate as per legal requirements. |  | 09/21/17 : on-going
| 16254 | HSE.1-Employers shall comply with all national laws regulations and procedures concerning health safety and the environment. | 63 - 1. Electrical panels in the sewing section are covered in dust and lint. Furthermore the cover of electrical panel is open. 2. The water tank is located in a small underground room. The entrance to this room (located in the garden) looks like a hole in the ground with a ladder to go underground. There is a cover over the hole to prevent falling. However there is no sign posted indicating that it is a confined space and therefore the factory does not have the corresponding procedures or equipment to respond to an emergency rescue. 3. The second operator who operates the steam boilers does not have a boiler usage certificate as per legal requirements. | 1. Keep electrical panels free from any dust and lint. Instruct workers to keep the switchboards’ covers closed. Regularly monitor to ensure compliance. 2. Post a warning sign near the entrance to the underground room in the garden. Create a procedure for working in confined spaces. Ensure that the risk assessment identifies all risks related to confined spaces. 3. Ensure that all steam boiler operators have the legally required boiler usage certificates. |  | The electrical panels in the sewing section have been cleaned. Also the cover of the electric panel is locked.(Nc47) |  | 09/21/17 : on-going
| 16255 | HSE.1-Employers shall comply with all national laws regulations and procedures concerning health safety and the environment. | 64 - 1. The factory does not provide the workers in quality control who make up 20% of the standing workers with anti-fatigue mats. 2. On 40% of the sewing machines the eye guards and/or finger guards have been removed or displaced. 3. The grinder machine does not have an eye protection guard. Moreover workers do not wear the provided goggles when using the machine. 4. The forklift does not have a seat belt or a portable fire extinguisher as legally required. 5. The factory does not have an earthquake resistance report for the main building. 6. The Material Safety Data Sheet (MSDS) for the “Clean Pas Stain Remover” does not include either the Chemical Abstracts Service (CAS) or all 16-legally required sections. | 1. Ensure that workers do not remove or displace eye or finger guards from the sewing machines. Train workers on the proper use of machine guards. Regularly monitor for compliance. 2. Retrain workers on the use of proper eye protection guard when using the grinding machine. Regularly monitor for compliance. 3. Install a seatbelt and portable fire extinguisher on the forklift. 4. Prepare MSDS forms in compliance with local law and include the CAS number and all legally required sections. |  | 5.It will be reassessed in the future depending on the budget. |  | 1. As per site tour the factory provided all workers performed standing jobs. 2.As per site tour all eye and finger guards at sewing machines were available and used by employees. 3.As per site tour all machines have proper guards including grinder machines on audit day and all worker use PPE when necessary. 4.As per site tour the forklift had a seat belt and a portable fire extinguisher. 6.As per site tour all chemicals at stain removing unit had MSDS.
| 16256 | HSE.1-Employers shall comply with all national laws regulations and procedures concerning health safety and the environment. | 65 - 1. The factory does not provide the workers in quality control who make up 20% of the standing workers with anti-fatigue mats. 2. On 40% of the sewing machines the eye guards and/or finger guards have been removed or displaced. 3. The grinder machine does not have an eye protection guard. Moreover workers do not wear the provided goggles when using the machine. 4. The forklift does not have a seat belt or a portable fire extinguisher as legally required. 5. The factory does not have an earthquake resistance report for the main building. 6. The Material Safety Data Sheet (MSDS) for the “Clean Pas Stain Remover” does not include either the Chemical Abstracts Service (CAS) or all 16-legally required sections. | 1. Ensure that workers do not remove or displace eye or finger guards from the sewing machines. Train workers on the proper use of machine guards. Regularly monitor for compliance. 2. Retrain workers on the use of proper eye protection guard when using the grinding machine. Regularly monitor for compliance. 3. Install a seatbelt and portable fire extinguisher on the forklift. 4. Prepare MSDS forms in compliance with local law and include the CAS number and all legally required sections. |  | Earthquake resistance report will be taken before completion date. |  | 09/21/17 : on-going
| 16257 | HSE.1-Employers shall comply with all national laws regulations and procedures concerning health safety and the environment. | 66 - 1. The factory does not provide the workers in quality control who make up 20% of the standing workers with anti-fatigue mats. 2. On 40% of the sewing machines the eye guards and/or finger guards have been removed or displaced. 3. The grinder machine does not have an eye protection guard. Moreover workers do not wear the provided goggles when using the machine. 4. The forklift does not have a seat belt or a portable fire extinguisher as legally required. 5. The factory does not have an earthquake resistance report for the main building. 6. The Material Safety Data Sheet (MSDS) for the “Clean Pas Stain Remover” does not include either the Chemical Abstracts Service (CAS) or all 16-legally required sections. | 1. Ensure that workers do not remove or displace eye or finger guards from the sewing machines. Train workers on the proper use of machine guards. Regularly monitor for compliance. 2. Retrain workers on the use of proper eye protection guard when using the grinding machine. Regularly monitor for compliance. 3. Install a seatbelt and portable fire extinguisher on the forklift. 4. Prepare MSDS forms in compliance with local law and include the CAS number and all legally required sections. |  | It was completed. Anti-fatigue mats were given to all quality control employees. |  | 09/21/17 : on-going
| 16258 | HSE.1-Employers shall comply with all national laws regulations and procedures concerning health safety and the environment. | 67 - 1. The factory does not provide the workers in quality control who make up 20% of the standing workers with anti-fatigue mats. 2. On 40% of the sewing machines the eye guards and/or finger guards have been removed or displaced. 3. The grinder machine does not have an eye protection guard. Moreover workers do not wear the provided goggles when using the machine. 4. The forklift does not have a seat belt or a portable fire extinguisher as legally required. 5. The factory does not have an earthquake resistance report for the main building. 6. The Material Safety Data Sheet (MSDS) for the “Clean Pas Stain Remover” does not include either the Chemical Abstracts Service (CAS) or all 16-legally required sections. | 1. Ensure that workers do not remove or displace eye or finger guards from the sewing machines. Train workers on the proper use of machine guards. Regularly monitor for compliance. 2. Retrain workers on the use of proper eye protection guard when using the grinding machine. Regularly monitor for compliance. 3. Install a seatbelt and portable fire extinguisher on the forklift. 4. Prepare MSDS forms in compliance with local law and include the CAS number and all legally required sections. |  | Missing machine protectors have been completed.All Machine protectors are available. Supervisors were trained to ensure that workers know that its importance. |  | 09/21/17 : on-going
| 16259 | HSE.1-Employers shall comply with all national laws regulations and procedures concerning health safety and the environment. | 68 - 1. The factory does not provide the workers in quality control who make up 20% of the standing workers with anti-fatigue mats. 2. On 40% of the sewing machines the eye guards and/or finger guards have been removed or displaced. 3. The grinder machine does not have an eye protection guard. Moreover workers do not wear the provided goggles when using the machine. 4. The forklift does not have a seat belt or a portable fire extinguisher as legally required. 5. The factory does not have an earthquake resistance report for the main building. 6. The Material Safety Data Sheet (MSDS) for the “Clean Pas Stain Remover” does not include either the Chemical Abstracts Service (CAS) or all 16-legally required sections. | 1. Ensure that workers do not remove or displace eye or finger guards from the sewing machines. Train workers on the proper use of machine guards. Regularly monitor for compliance. 2. Retrain workers on the use of proper eye protection guard when using the grinding machine. Regularly monitor for compliance. 3. Install a seatbelt and portable fire extinguisher on the forklift. 4. Prepare MSDS forms in compliance with local law and include the CAS number and all legally required sections. |  | MSDS are available f9or all checimical which we use. |  | 09/21/17 : on-going
| 16260 | HSE.1-Employers shall comply with all national laws regulations and procedures concerning health safety and the environment. | 69 - 1. The factory does not provide the workers in quality control who make up 20% of the standing workers with anti-fatigue mats. 2. On 40% of the sewing machines the eye guards and/or finger guards have been removed or displaced. 3. The grinder machine does not have an eye protection guard. Moreover workers do not wear the provided goggles when using the machine. 4. The forklift does not have a seat belt or a portable fire extinguisher as legally required. 5. The factory does not have an earthquake resistance report for the main building. 6. The Material Safety Data Sheet (MSDS) for the “Clean Pas Stain Remover” does not include either the Chemical Abstracts Service (CAS) or all 16-legally required sections. | 1. Ensure that workers do not remove or displace eye or finger guards from the sewing machines. Train workers on the proper use of machine guards. Regularly monitor for compliance. 2. Retrain workers on the use of proper eye protection guard when using the grinding machine. Regularly monitor for compliance. 3. Install a seatbelt and portable fire extinguisher on the forklift. 4. Prepare MSDS forms in compliance with local law and include the CAS number and all legally required sections. |  | Staff warned to wear spectacles |  | 09/21/17 : on-going
| 16261 | HSE.1-Employers shall comply with all national laws regulations and procedures concerning health safety and the environment. | 7 - 1. The fire alarm control panel in the main building located in the sewing and cutting sections is broken. There is no light on the control panel indicating the fire alarm is on. 2. The smoke detectors in the main building do not function. 3. The fire alarm is not loud enough in main building; it was especially difficult to hear in the cutting section. Additionally some fire alarm buttons which have an older design that require breaking glass to trigger the alarm. It is necessary to continuously push the button of these fire alarms for the siren to sound. 4. There is no fire alarm button in the fabric warehouse in the sewing section. 5. Twenty percent (20%) of the factory’s fire extinguishers and fire hoses are obstructed with tables and goods throughout the factory. One fire extinguisher and fire hose are placed between shelves in the fabric warehouse making them difficult to see and access easily. 6. The emergency evacuation map posted at the entrance to the main building does not reflect the actual layout of the factory. The placement of the departments and emergency exit routes on the map do not guide workers in the correct direction. 7. The factory does not conduct fire drills during the night shift. 8. There is no system in place to account for all workers during an emergency evacuation. 9. There are lunch tables in front of the emergency exit doors in the canteen which could prevent safe evacuation. 10. Fabric rolls are blocking the emergency exits in the basement of the second building where fabric rolls are unloaded from trucks. | 1. Repair the fire alarm control panel in the main building and regularly inspect the panel to ensure it is in good working condition. 2. Repair the smoke detectors in the main building and regularly inspect the smoke detectors to ensure they are in good working condition. 3. Ensure that fire alarm is loud enough to hear in every section of the factory. Repair or replace the fire alarm buttons to ensure that the alarm rings easily in case of emergency. 4. Install a fire alarm in the fabric warehouse. 5. Locate fire extinguishers and hoses in places which are easily visible and ensure they remain unobstructed. Regularly monitor for compliance. 6. Ensure that all emergency evacuation plans reflect the actual layout of the factory and correctly direct workers to the emergency exits. 7. Conduct fire drills for the night shift. Ensure that all details are observed and recorded during the fire drills. 8. Develop a system to account for all workers during an evacuation. 9. Keep all emergency exits free from any obstruction including tables and fabric rolls. |  | The emergency evacuation map posted at the entrance to the main building does reflect the actual layout of the factory. |  | 09/21/17 : on-going
| 16262 | HSE.1-Employers shall comply with all national laws regulations and procedures concerning health safety and the environment. | 70 - 1. The factory does not provide the workers in quality control who make up 20% of the standing workers with anti-fatigue mats. 2. On 40% of the sewing machines the eye guards and/or finger guards have been removed or displaced. 3. The grinder machine does not have an eye protection guard. Moreover workers do not wear the provided goggles when using the machine. 4. The forklift does not have a seat belt or a portable fire extinguisher as legally required. 5. The factory does not have an earthquake resistance report for the main building. 6. The Material Safety Data Sheet (MSDS) for the “Clean Pas Stain Remover” does not include either the Chemical Abstracts Service (CAS) or all 16-legally required sections. | 1. Ensure that workers do not remove or displace eye or finger guards from the sewing machines. Train workers on the proper use of machine guards. Regularly monitor for compliance. 2. Retrain workers on the use of proper eye protection guard when using the grinding machine. Regularly monitor for compliance. 3. Install a seatbelt and portable fire extinguisher on the forklift. 4. Prepare MSDS forms in compliance with local law and include the CAS number and all legally required sections. |  | The forklift does have a seat belt or a portable fire extinguisher as legally required. (NC44) |  | 09/21/17 : on-going
| 16263 | HSE.1-Employers shall comply with all national laws regulations and procedures concerning health safety and the environment. | 71 - 1. The fire alarm control panel in the main building located in the sewing and cutting sections is broken. There is no light on the control panel indicating the fire alarm is on. 2. The smoke detectors in the main building do not function. 3. The fire alarm is not loud enough in main building; it was especially difficult to hear in the cutting section. Additionally some fire alarm buttons which have an older design that require breaking glass to trigger the alarm. It is necessary to continuously push the button of these fire alarms for the siren to sound. 4. There is no fire alarm button in the fabric warehouse in the sewing section. 5. Twenty percent (20%) of the factory’s fire extinguishers and fire hoses are obstructed with tables and goods throughout the factory. One fire extinguisher and fire hose are placed between shelves in the fabric warehouse making them difficult to see and access easily. 6. The emergency evacuation map posted at the entrance to the main building does not reflect the actual layout of the factory. The placement of the departments and emergency exit routes on the map do not guide workers in the correct direction. 7. The factory does not conduct fire drills during the night shift. 8. There is no system in place to account for all workers during an emergency evacuation. 9. There are lunch tables in front of the emergency exit doors in the canteen which could prevent safe evacuation. 10. Fabric rolls are blocking the emergency exits in the basement of the second building where fabric rolls are unloaded from trucks. | 1. Repair the fire alarm control panel in the main building and regularly inspect the panel to ensure it is in good working condition. 2. Repair the smoke detectors in the main building and regularly inspect the smoke detectors to ensure they are in good working condition. 3. Ensure that fire alarm is loud enough to hear in every section of the factory. Repair or replace the fire alarm buttons to ensure that the alarm rings easily in case of emergency. 4. Install a fire alarm in the fabric warehouse. 5. Locate fire extinguishers and hoses in places which are easily visible and ensure they remain unobstructed. Regularly monitor for compliance. 6. Ensure that all emergency evacuation plans reflect the actual layout of the factory and correctly direct workers to the emergency exits. 7. Conduct fire drills for the night shift. Ensure that all details are observed and recorded during the fire drills. 8. Develop a system to account for all workers during an evacuation. 9. Keep all emergency exits free from any obstruction including tables and fabric rolls. |  | Additional alarm set installed.
| 16264 | HSE.1-Employers shall comply with all national laws regulations and procedures concerning health safety and the environment. | 72 - 1. The fire alarm control panel in the main building located in the sewing and cutting sections is broken. There is no light on the control panel indicating the fire alarm is on. 2. The smoke detectors in the main building do not function. 3. The fire alarm is not loud enough in main building; it was especially difficult to hear in the cutting section. Additionally some fire alarm buttons which have an older design that require breaking glass to trigger the alarm. It is necessary to continuously push the button of these fire alarms for the siren to sound. 4. There is no fire alarm button in the fabric warehouse in the sewing section. 5. Twenty percent (20%) of the factory’s fire extinguishers and fire hoses are obstructed with tables and goods throughout the factory. One fire extinguisher and fire hose are placed between shelves in the fabric warehouse making them difficult to see and access easily. 6. The emergency evacuation map posted at the entrance to the main building does not reflect the actual layout of the factory. The placement of the departments and emergency exit routes on the map do not guide workers in the correct direction. 7. The factory does not conduct fire drills during the night shift. 8. There is no system in place to account for all workers during an emergency evacuation. 9. There are lunch tables in front of the emergency exit doors in the canteen which could prevent safe evacuation. 10. Fabric rolls are blocking the emergency exits in the basement of the second building where fabric rolls are unloaded from trucks. | 1. Repair the fire alarm control panel in the main building and regularly inspect the panel to ensure it is in good working condition. 2. Repair the smoke detectors in the main building and regularly inspect the smoke detectors to ensure they are in good working condition. 3. Ensure that fire alarm is loud enough to hear in every section of the factory. Repair or replace the fire alarm buttons to ensure that the alarm rings easily in case of emergency. 4. Install a fire alarm in the fabric warehouse. 5. Locate fire extinguishers and hoses in places which are easily visible and ensure they remain unobstructed. Regularly monitor for compliance. 6. Ensure that all emergency evacuation plans reflect the actual layout of the factory and correctly direct workers to the emergency exits. 7. Conduct fire drills for the night shift. Ensure that all details are observed and recorded during the fire drills. 8. Develop a system to account for all workers during an evacuation. 9. Keep all emergency exits free from any obstruction including tables and fabric rolls. |  | Emergency action plan and fire practise available. We have seperated area for each departmant on collecting area. In any emergency evacuation our supervisors will compare workers quantity and names with HR actual documents. |  | 09/21/17 : on-going
| 16265 | HSE.1-Employers shall comply with all national laws regulations and procedures concerning health safety and the environment. | 73 - 1. The fire alarm control panel in the main building located in the sewing and cutting sections is broken. There is no light on the control panel indicating the fire alarm is on. 2. The smoke detectors in the main building do not function. 3. The fire alarm is not loud enough in main building; it was especially difficult to hear in the cutting section. Additionally some fire alarm buttons which have an older design that require breaking glass to trigger the alarm. It is necessary to continuously push the button of these fire alarms for the siren to sound. 4. There is no fire alarm button in the fabric warehouse in the sewing section. 5. Twenty percent (20%) of the factory’s fire extinguishers and fire hoses are obstructed with tables and goods throughout the factory. One fire extinguisher and fire hose are placed between shelves in the fabric warehouse making them difficult to see and access easily. 6. The emergency evacuation map posted at the entrance to the main building does not reflect the actual layout of the factory. The placement of the departments and emergency exit routes on the map do not guide workers in the correct direction. 7. The factory does not conduct fire drills during the night shift. 8. There is no system in place to account for all workers during an emergency evacuation. 9. There are lunch tables in front of the emergency exit doors in the canteen which could prevent safe evacuation. 10. Fabric rolls are blocking the emergency exits in the basement of the second building where fabric rolls are unloaded from trucks. | 1. Repair the fire alarm control panel in the main building and regularly inspect the panel to ensure it is in good working condition. 2. Repair the smoke detectors in the main building and regularly inspect the smoke detectors to ensure they are in good working condition. 3. Ensure that fire alarm is loud enough to hear in every section of the factory. Repair or replace the fire alarm buttons to ensure that the alarm rings easily in case of emergency. 4. Install a fire alarm in the fabric warehouse. 5. Locate fire extinguishers and hoses in places which are easily visible and ensure they remain unobstructed. Regularly monitor for compliance. 6. Ensure that all emergency evacuation plans reflect the actual layout of the factory and correctly direct workers to the emergency exits. 7. Conduct fire drills for the night shift. Ensure that all details are observed and recorded during the fire drills. 8. Develop a system to account for all workers during an evacuation. 9. Keep all emergency exits free from any obstruction including tables and fabric rolls. |  | Fire alarm button is provided to the fabric warehouse in the sewing section |  | 09/21/17 : on-going
| 16266 | HSE.1-Employers shall comply with all national laws regulations and procedures concerning health safety and the environment. | 74 - 1. The fire alarm control panel in the main building located in the sewing and cutting sections is broken. There is no light on the control panel indicating the fire alarm is on. 2. The smoke detectors in the main building do not function. 3. The fire alarm is not loud enough in main building; it was especially difficult to hear in the cutting section. Additionally some fire alarm buttons which have an older design that require breaking glass to trigger the alarm. It is necessary to continuously push the button of these fire alarms for the siren to sound. 4. There is no fire alarm button in the fabric warehouse in the sewing section. 5. Twenty percent (20%) of the factory’s fire extinguishers and fire hoses are obstructed with tables and goods throughout the factory. One fire extinguisher and fire hose are placed between shelves in the fabric warehouse making them difficult to see and access easily. 6. The emergency evacuation map posted at the entrance to the main building does not reflect the actual layout of the factory. The placement of the departments and emergency exit routes on the map do not guide workers in the correct direction. 7. The factory does not conduct fire drills during the night shift. 8. There is no system in place to account for all workers during an emergency evacuation. 9. There are lunch tables in front of the emergency exit doors in the canteen which could prevent safe evacuation. 10. Fabric rolls are blocking the emergency exits in the basement of the second building where fabric rolls are unloaded from trucks. | 1. Repair the fire alarm control panel in the main building and regularly inspect the panel to ensure it is in good working condition. 2. Repair the smoke detectors in the main building and regularly inspect the smoke detectors to ensure they are in good working condition. 3. Ensure that fire alarm is loud enough to hear in every section of the factory. Repair or replace the fire alarm buttons to ensure that the alarm rings easily in case of emergency. 4. Install a fire alarm in the fabric warehouse. 5. Locate fire extinguishers and hoses in places which are easily visible and ensure they remain unobstructed. Regularly monitor for compliance. 6. Ensure that all emergency evacuation plans reflect the actual layout of the factory and correctly direct workers to the emergency exits. 7. Conduct fire drills for the night shift. Ensure that all details are observed and recorded during the fire drills. 8. Develop a system to account for all workers during an evacuation. 9. Keep all emergency exits free from any obstruction including tables and fabric rolls. |  | Fire drills are condcuted at night shift periodically. |  | 09/21/17 : on-going
| 16267 | HOW.1.1-Employers shall comply with all national laws regulations and procedures concerning hours of work public holidays and leave. | 10 - 1. There are 12 apprentices at the factory who work three days per week for vocational training. However the factory does not provide special working hours to them although they are young workers. They work nine hours per day instead of eight hours as legally required. 2. There is one young worker at the factory and he works nine hours per day plus overtime which is not in accordance with the law. 3. There are two shifts in the cutting section where 30 workers work. Five sampled workers worked 11 hours (regular + overtime) on the night shift in March April and May 2016 which exceeds the legal limit of 7.5 hours for the night shift and worked 12 hours (regular + overtime) on the day shift in March April May and October 2016 which exceeds the legal limit of 11 hours in day shift. 4. There is no identification of young and apprentice workers in the working hour records to ensure that they do not work more hours than legally allowed. 5. The factory has not formed the legally required “Annual Leave Committee.” | 1. Ensure that young workers including apprentices do not work more than eight hours per day. 2. Ensure that night shift workers do not work more than 7.5 hours per night and day shift workers do not work more than 11 hours per day as legally required. |  | Annual leave committee will be established |  | 09/21/17 : on-going
| 16268 | HOW.1.1-Employers shall comply with all national laws regulations and procedures concerning hours of work public holidays and leave. | 11 - 1. There are 12 apprentices at the factory who work three days per week for vocational training. However the factory does not provide special working hours to them although they are young workers. They work nine hours per day instead of eight hours as legally required. 2. There is one young worker at the factory and he works nine hours per day plus overtime which is not in accordance with the law. 3. There are two shifts in the cutting section where 30 workers work. Five sampled workers worked 11 hours (regular + overtime) on the night shift in March April and May 2016 which exceeds the legal limit of 7.5 hours for the night shift and worked 12 hours (regular + overtime) on the day shift in March April May and October 2016 which exceeds the legal limit of 11 hours in day shift. 4. There is no identification of young and apprentice workers in the working hour records to ensure that they do not work more hours than legally allowed. 5. The factory has not formed the legally required “Annual Leave Committee.” | 1. Ensure that young workers including apprentices do not work more than eight hours per day. 2. Ensure that night shift workers do not work more than 7.5 hours per night and day shift workers do not work more than 11 hours per day as legally required. |  | Employees were given tea breaks and their working hours were regulated within legal limits. |  | 09/21/17 : on-going
| 16269 | HOW.1.1-Employers shall comply with all national laws regulations and procedures concerning hours of work public holidays and leave. | 12 - 1. There are 12 apprentices at the factory who work three days per week for vocational training. However the factory does not provide special working hours to them although they are young workers. They work nine hours per day instead of eight hours as legally required. 2. There is one young worker at the factory and he works nine hours per day plus overtime which is not in accordance with the law. 3. There are two shifts in the cutting section where 30 workers work. Five sampled workers worked 11 hours (regular + overtime) on the night shift in March April and May 2016 which exceeds the legal limit of 7.5 hours for the night shift and worked 12 hours (regular + overtime) on the day shift in March April May and October 2016 which exceeds the legal limit of 11 hours in day shift. 4. There is no identification of young and apprentice workers in the working hour records to ensure that they do not work more hours than legally allowed. 5. The factory has not formed the legally required “Annual Leave Committee.” | 1. Ensure that young workers including apprentices do not work more than eight hours per day. 2. Ensure that night shift workers do not work more than 7.5 hours per night and day shift workers do not work more than 11 hours per day as legally required. |  | No action needs to be done since the factory already improved. |  | 1.There was no apprentice in the company. Meantime weekly and daily working hours of juvenile employees were limited within legal limits. 2.As per document review and worker interviews weekly and daily working hours of juvenile employees were limited within legal limits. 3.As per document review and worker interviews weekly regular working hours of cutting section workers were organised as : 1st shift; from 08:00 to 16:00 including 30' meal break 2nd shift: from 16:00 to 24:00 including 30' meal break 3rd shift: from 00:00 to 08:00 including 30' meal break and no working practice performed at night over 11 hours legal limit. 4.There was no apprentice in the company. Meantime weekly and daily working hours of juvenile employees were limited within legal limits. 5.As per document review and worker and management interviews Annual Leave Committee was established.
| 16270 | HOW.1.1-Employers shall comply with all national laws regulations and procedures concerning hours of work public holidays and leave. | 13 - 1. There are 12 apprentices at the factory who work three days per week for vocational training. However the factory does not provide special working hours to them although they are young workers. They work nine hours per day instead of eight hours as legally required. 2. There is one young worker at the factory and he works nine hours per day plus overtime which is not in accordance with the law. 3. There are two shifts in the cutting section where 30 workers work. Five sampled workers worked 11 hours (regular + overtime) on the night shift in March April and May 2016 which exceeds the legal limit of 7.5 hours for the night shift and worked 12 hours (regular + overtime) on the day shift in March April May and October 2016 which exceeds the legal limit of 11 hours in day shift. 4. There is no identification of young and apprentice workers in the working hour records to ensure that they do not work more hours than legally allowed. 5. The factory has not formed the legally required “Annual Leave Committee.” | 1. Ensure that young workers including apprentices do not work more than eight hours per day. 2. Ensure that night shift workers do not work more than 7.5 hours per night and day shift workers do not work more than 11 hours per day as legally required. |  | On the day of the audit the system does not detected the fingerprint of the selected employeeEmployee fingerprint records are taken every day and check by HR team. If they find any miss data they will check on floor. |  | 09/21/17 : on-going
| 16271 | HOW.1.1-Employers shall comply with all national laws regulations and procedures concerning hours of work public holidays and leave. | 14 - 1. There are 12 apprentices at the factory who work three days per week for vocational training. However the factory does not provide special working hours to them although they are young workers. They work nine hours per day instead of eight hours as legally required. 2. There is one young worker at the factory and he works nine hours per day plus overtime which is not in accordance with the law. 3. There are two shifts in the cutting section where 30 workers work. Five sampled workers worked 11 hours (regular + overtime) on the night shift in March April and May 2016 which exceeds the legal limit of 7.5 hours for the night shift and worked 12 hours (regular + overtime) on the day shift in March April May and October 2016 which exceeds the legal limit of 11 hours in day shift. 4. There is no identification of young and apprentice workers in the working hour records to ensure that they do not work more hours than legally allowed. 5. The factory has not formed the legally required “Annual Leave Committee.” | 1. Ensure that young workers including apprentices do not work more than eight hours per day. 2. Ensure that night shift workers do not work more than 7.5 hours per night and day shift workers do not work more than 11 hours per day as legally required. |  | Procedures were prepared.(NC-27)Supervisors were trained and the working hours of young employees were arranged as 8 hours. Management changed working hours for young workers. They limited max 8 hour per day. New working hours table are on information board. |  | 09/21/17 : on-going
| 16272 | HOW.1.1-Employers shall comply with all national laws regulations and procedures concerning hours of work public holidays and leave. | 15 - 1. There are 12 apprentices at the factory who work three days per week for vocational training. However the factory does not provide special working hours to them although they are young workers. They work nine hours per day instead of eight hours as legally required. 2. There is one young worker at the factory and he works nine hours per day plus overtime which is not in accordance with the law. 3. There are two shifts in the cutting section where 30 workers work. Five sampled workers worked 11 hours (regular + overtime) on the night shift in March April and May 2016 which exceeds the legal limit of 7.5 hours for the night shift and worked 12 hours (regular + overtime) on the day shift in March April May and October 2016 which exceeds the legal limit of 11 hours in day shift. 4. There is no identification of young and apprentice workers in the working hour records to ensure that they do not work more hours than legally allowed. 5. The factory has not formed the legally required “Annual Leave Committee.” | 1. Ensure that young workers including apprentices do not work more than eight hours per day. 2. Ensure that night shift workers do not work more than 7.5 hours per night and day shift workers do not work more than 11 hours per day as legally required. |  | Procedures were prepared.(NC-27)Supervisors were trained and the working hours of young employees will be arranged as 8 hours. Management changed working hours for young workers. They limited max 8 hour per day. |  | 09/21/17 : on-going
| 16273 | HOW.1.1-Employers shall comply with all national laws regulations and procedures concerning hours of work public holidays and leave. | 59 - 1. During worker interviews two workers attested that one data entry worker who is pregnant works overtime (OT) but is paid in cash for her OT. In her interview with assessors she denied staying for OT and said she leaves as early as other pregnant workers. Management also denied this practice. | 1. Ensure that pregnant workers do not work more than the legal maximum 7.5 hours per day. |  | No action needs to be done since the factory already improved. |  | 1.As per document review and worker interviews pregnant workers didn't perform overtime practices.
| 16274 | HOW.1.1-Employers shall comply with all national laws regulations and procedures concerning hours of work public holidays and leave. | 8 - 1. During worker interviews two workers attested that one data entry worker who is pregnant works overtime (OT) but is paid in cash for her OT. In her interview with assessors she denied staying for OT and said she leaves as early as other pregnant workers. Management also denied this practice. | 1. Ensure that pregnant workers do not work more than the legal maximum 7.5 hours per day. |  | We never give payment for ot in cash. |  | 09/21/17 : on-going
| 16275 | XX.14-Please refer to the assessment report for benchmark information. For assessments conducted prior to 2020 benchmark numbers reflect the FLA’s 2011 Workplace Compliance Benchmarks. | 9 - 1. There are worker representatives in the Health & Safety Committee in the factory; however two of the three of them were designated by management. In September 2016 the factory announced that workers could apply to be candidates in the worker representative election. Since only one worker has been a candidate management chose the other two representatives. |  |  | Election announcement was made.No candidate so assigned. After assesment we didnt make a new election. But In september 2017 we are planning to make a new election. |  | 09/21/17 : on-going
| 16276 | XX.15-Please refer to the assessment report for benchmark information. For assessments conducted prior to 2020 benchmark numbers reflect the FLA’s 2011 Workplace Compliance Benchmarks. | 16 - 1. There are worker representatives in the Health & Safety Committee in the factory; however two of the three of them were designated by management. In September 2016 the factory announced that workers could apply to be candidates in the worker representative election. Since only one worker has been a candidate management chose the other two representatives. |  |  | No action needs to be done since the factory already improved. |  | 1. As per document review and worker representatives there were 5 freely elected worker representatives in the company. The last election was done in January 2018.
| 16277 | XX.18-Please refer to the assessment report for benchmark information. For assessments conducted prior to 2020 benchmark numbers reflect the FLA’s 2011 Workplace Compliance Benchmarks. | 19 - 1. The factory does not have a policy or procedures on the performance review system that includes steps and processes or demonstrates linkages to job grading prohibits discrimination provides written feedback and complies with legal requirements. Furthermore the factory does not have procedures on raising or broadening skills in order to advance workers in their careers or provide written outcomes of promotion demotion and reassignment to workers. 2. The factory does not have a written policy on the following Employment Functions: Compensation Hours of Work Retrenchment Industrial Relations and Grievance System. 3. The factory does not have written procedures on the following Employment Functions: Personnel Development Compensation Hours of Work Retrenchment Industrial Relations and Grievance System. However there are some documents or systems in place to manage Compensation and Hours of Work. 4. The Workplace Conduct & Discipline procedures do not include a procedure for workers to appeal disciplinary actions. 5. The factory’s Environmental Protection policy does not include a statement of the factory management’s general support of energy and water efficiency and a commitment to minimize impacts with respect to air emissions waste hazardous materials and other applicable environmental risks. The Environmental Protection procedures do not include procedures that enable workers to raise environmental concerns or protections against retaliation for workers who allege environmental violations. 6. The factory’s Health & Safety procedures do not include the following: measures to protect the reproductive health of workers through minimizing exposure to workplace hazards; procedures for workers to raise Health & Safety concerns or protection against retaliation for those who do; steps on how to ensure that visitors contractors and service providers are safely evacuated; a complete chemical inventory; a list of confined spaces that require work permits; the precautions people must take prior to or during entry and stay in each confined space; and a list of equipment that requires lockout-tagout. |  |  | In March we set a new committee about Sustainability they have met every months. End of August we will publish our first Sustainability Report which includes our improvement program about Energy water chemical efficiency. |  | 09/21/17 : on-going
| 16278 | XX.19-Please refer to the assessment report for benchmark information. For assessments conducted prior to 2020 benchmark numbers reflect the FLA’s 2011 Workplace Compliance Benchmarks. | 20 - 1. The factory does not have a policy or procedures on the performance review system that includes steps and processes or demonstrates linkages to job grading prohibits discrimination provides written feedback and complies with legal requirements. Furthermore the factory does not have procedures on raising or broadening skills in order to advance workers in their careers or provide written outcomes of promotion demotion and reassignment to workers. 2. The factory does not have a written policy on the following Employment Functions: Compensation Hours of Work Retrenchment Industrial Relations and Grievance System. 3. The factory does not have written procedures on the following Employment Functions: Personnel Development Compensation Hours of Work Retrenchment Industrial Relations and Grievance System. However there are some documents or systems in place to manage Compensation and Hours of Work. 4. The Workplace Conduct & Discipline procedures do not include a procedure for workers to appeal disciplinary actions. 5. The factory’s Environmental Protection policy does not include a statement of the factory management’s general support of energy and water efficiency and a commitment to minimize impacts with respect to air emissions waste hazardous materials and other applicable environmental risks. The Environmental Protection procedures do not include procedures that enable workers to raise environmental concerns or protections against retaliation for workers who allege environmental violations. 6. The factory’s Health & Safety procedures do not include the following: measures to protect the reproductive health of workers through minimizing exposure to workplace hazards; procedures for workers to raise Health & Safety concerns or protection against retaliation for those who do; steps on how to ensure that visitors contractors and service providers are safely evacuated; a complete chemical inventory; a list of confined spaces that require work permits; the precautions people must take prior to or during entry and stay in each confined space; and a list of equipment that requires lockout-tagout. |  |  | No action needs to be done since the factory already improved. |  | 1. As per document review and management interviews the company has policies and procedures on the performance review system that includes steps and processes or demonstrates linkages to job grading prohibits discrimination provides written feedback and complies with legal requirements. Furthermore the factory had procedures on raising or broadening skills in order to advance workers in their careers or provide written outcomes of promotion demotion and reassignment to workers. 2. As per document review the company has a written policy on the following Employment Functions: Compensation Hours of Work Retrenchment Industrial Relations and Grievance System. 3. As per document review the company had written procedures on the following Employment Functions: Personnel Development Compensation Hours of Work Retrenchment Industrial Relations and Grievance System. However there are some documents or systems in place to manage Compensation and Hours of Work. 4. As per document review the Workplace Conduct Discipline procedures included a procedure for workers to appeal disciplinary actions. 5. As per document review the factory&rsquo;s Environmental Protection policy included a statement of the factory management&rsquo;s general support of energy and water efficiency and a commitment to minimize impacts with respect to air emissions waste hazardous materials and other applicable environmental risks. The Environmental Protection procedures included procedures that enable workers to raise environmental concerns or protections against retaliation for workers who allege environmental violation 6. As per document review the factory&rsquo;s Health Safety procedures included the following: measures to protect the reproductive health of workers through minimizing exposure to workplace hazards; procedures for workers to raise Health Safety concerns or protection against retaliation for those who do; steps on how to ensure that visitors contractors and service providers are safely evacuated; a complete chemical inventory; a list of confined spaces that require work permits; the precautions people must take prior to or during entry and stay in each confined space; and a list of equipment that requires lockout-tagout.
| 16279 | XX.20-Please refer to the assessment report for benchmark information. For assessments conducted prior to 2020 benchmark numbers reflect the FLA’s 2011 Workplace Compliance Benchmarks. | 21 - 1. The factory does not have a policy or procedures on the performance review system that includes steps and processes or demonstrates linkages to job grading prohibits discrimination provides written feedback and complies with legal requirements. Furthermore the factory does not have procedures on raising or broadening skills in order to advance workers in their careers or provide written outcomes of promotion demotion and reassignment to workers. 2. The factory does not have a written policy on the following Employment Functions: Compensation Hours of Work Retrenchment Industrial Relations and Grievance System. 3. The factory does not have written procedures on the following Employment Functions: Personnel Development Compensation Hours of Work Retrenchment Industrial Relations and Grievance System. However there are some documents or systems in place to manage Compensation and Hours of Work. 4. The Workplace Conduct & Discipline procedures do not include a procedure for workers to appeal disciplinary actions. 5. The factory’s Environmental Protection policy does not include a statement of the factory management’s general support of energy and water efficiency and a commitment to minimize impacts with respect to air emissions waste hazardous materials and other applicable environmental risks. The Environmental Protection procedures do not include procedures that enable workers to raise environmental concerns or protections against retaliation for workers who allege environmental violations. 6. The factory’s Health & Safety procedures do not include the following: measures to protect the reproductive health of workers through minimizing exposure to workplace hazards; procedures for workers to raise Health & Safety concerns or protection against retaliation for those who do; steps on how to ensure that visitors contractors and service providers are safely evacuated; a complete chemical inventory; a list of confined spaces that require work permits; the precautions people must take prior to or during entry and stay in each confined space; and a list of equipment that requires lockout-tagout. |  |  | No action needs to be done since the factory already improved. |  | 1.As per document review and management interviews the company has policies and procedures on the performance review system that includes steps and processes or demonstrates linkages to job grading prohibits discrimination provides written feedback and complies with legal requirements. Furthermore the factory had procedures on raising or broadening skills in order to advance workers in their careers or provide written outcomes of promotion demotion and reassignment to workers. 2.As per document review the company has a written policy on the following Employment Functions: Compensation Hours of Work Retrenchment Industrial Relations and Grievance System. 3.As per document review the company had written procedures on the following Employment Functions: Personnel Development Compensation Hours of Work Retrenchment Industrial Relations and Grievance System. However there are some documents or systems in place to manage Compensation and Hours of Work. 4.As per document review the Workplace Conduct Discipline procedures included a procedure for workers to appeal disciplinary actions. 5.As per document review the factory&rsquo;s Environmental Protection policy included a statement of the factory management&rsquo;s general support of energy and water efficiency and a commitment to minimize impacts with respect to air emissions waste hazardous materials and other applicable environmental risks. The Environmental Protection procedures included procedures that enable workers to raise environmental concerns or protections against retaliation for workers who allege environmental violation. 6.As per document review the factory&rsquo;s Health Safety procedures included the following: measures to protect the reproductive health of workers through minimizing exposure to workplace hazards; procedures for workers to raise Health Safety concerns or protection against retaliation for those who do; steps on how to ensure that visitors contractors and service providers are safely evacuated; a complete chemical inventory; a list of confined spaces that require work permits; the precautions people must take prior to or during entry and stay in each confined space; and a list of equipment that requires lockout-tagout.
| 16280 | XX.21-Please refer to the assessment report for benchmark information. For assessments conducted prior to 2020 benchmark numbers reflect the FLA’s 2011 Workplace Compliance Benchmarks. | 22 - 1. The factory does not have a policy or procedures on the performance review system that includes steps and processes or demonstrates linkages to job grading prohibits discrimination provides written feedback and complies with legal requirements. Furthermore the factory does not have procedures on raising or broadening skills in order to advance workers in their careers or provide written outcomes of promotion demotion and reassignment to workers. 2. The factory does not have a written policy on the following Employment Functions: Compensation Hours of Work Retrenchment Industrial Relations and Grievance System. 3. The factory does not have written procedures on the following Employment Functions: Personnel Development Compensation Hours of Work Retrenchment Industrial Relations and Grievance System. However there are some documents or systems in place to manage Compensation and Hours of Work. 4. The Workplace Conduct & Discipline procedures do not include a procedure for workers to appeal disciplinary actions. 5. The factory’s Environmental Protection policy does not include a statement of the factory management’s general support of energy and water efficiency and a commitment to minimize impacts with respect to air emissions waste hazardous materials and other applicable environmental risks. The Environmental Protection procedures do not include procedures that enable workers to raise environmental concerns or protections against retaliation for workers who allege environmental violations. 6. The factory’s Health & Safety procedures do not include the following: measures to protect the reproductive health of workers through minimizing exposure to workplace hazards; procedures for workers to raise Health & Safety concerns or protection against retaliation for those who do; steps on how to ensure that visitors contractors and service providers are safely evacuated; a complete chemical inventory; a list of confined spaces that require work permits; the precautions people must take prior to or during entry and stay in each confined space; and a list of equipment that requires lockout-tagout. |  |  | No action needs to be done since the factory already improved. |  | 1.As per document review and management interviews the company has policies and procedures on the performance review system that includes steps and processes or demonstrates linkages to job grading prohibits discrimination provides written feedback and complies with legal requirements. Furthermore the factory had procedures on raising or broadening skills in order to advance workers in their careers or provide written outcomes of promotion demotion and reassignment to workers. 2.As per document review the company has a written policy on the following Employment Functions: Compensation Hours of Work Retrenchment Industrial Relations and Grievance System. 3.As per document review the company had written procedures on the following Employment Functions: Personnel Development Compensation Hours of Work Retrenchment Industrial Relations and Grievance System. However there are some documents or systems in place to manage Compensation and Hours of Work. 4.As per document review the Workplace Conduct Discipline procedures included a procedure for workers to appeal disciplinary actions. 5.As per document review the factory&rsquo;s Environmental Protection policy included a statement of the factory management&rsquo;s general support of energy and water efficiency and a commitment to minimize impacts with respect to air emissions waste hazardous materials and other applicable environmental risks. The Environmental Protection procedures included procedures that enable workers to raise environmental concerns or protections against retaliation for workers who allege environmental violation. 6.As per document review the factory&rsquo;s Health Safety procedures included the following: measures to protect the reproductive health of workers through minimizing exposure to workplace hazards; procedures for workers to raise Health Safety concerns or protection against retaliation for those who do; steps on how to ensure that visitors contractors and service providers are safely evacuated; a complete chemical inventory; a list of confined spaces that require work permits; the precautions people must take prior to or during entry and stay in each confined space; and a list of equipment that requires lockout-tagout.
| 16281 | XX.22-Please refer to the assessment report for benchmark information. For assessments conducted prior to 2020 benchmark numbers reflect the FLA’s 2011 Workplace Compliance Benchmarks. | 23 - 1. The factory does not have a policy or procedures on the performance review system that includes steps and processes or demonstrates linkages to job grading prohibits discrimination provides written feedback and complies with legal requirements. Furthermore the factory does not have procedures on raising or broadening skills in order to advance workers in their careers or provide written outcomes of promotion demotion and reassignment to workers. 2. The factory does not have a written policy on the following Employment Functions: Compensation Hours of Work Retrenchment Industrial Relations and Grievance System. 3. The factory does not have written procedures on the following Employment Functions: Personnel Development Compensation Hours of Work Retrenchment Industrial Relations and Grievance System. However there are some documents or systems in place to manage Compensation and Hours of Work. 4. The Workplace Conduct & Discipline procedures do not include a procedure for workers to appeal disciplinary actions. 5. The factory’s Environmental Protection policy does not include a statement of the factory management’s general support of energy and water efficiency and a commitment to minimize impacts with respect to air emissions waste hazardous materials and other applicable environmental risks. The Environmental Protection procedures do not include procedures that enable workers to raise environmental concerns or protections against retaliation for workers who allege environmental violations. 6. The factory’s Health & Safety procedures do not include the following: measures to protect the reproductive health of workers through minimizing exposure to workplace hazards; procedures for workers to raise Health & Safety concerns or protection against retaliation for those who do; steps on how to ensure that visitors contractors and service providers are safely evacuated; a complete chemical inventory; a list of confined spaces that require work permits; the precautions people must take prior to or during entry and stay in each confined space; and a list of equipment that requires lockout-tagout. |  |  | No action needs to be done since the factory already improved. |  | 1.As per document review and management interviews the company has policies and procedures on the performance review system that includes steps and processes or demonstrates linkages to job grading prohibits discrimination provides written feedback and complies with legal requirements. Furthermore the factory had procedures on raising or broadening skills in order to advance workers in their careers or provide written outcomes of promotion demotion and reassignment to workers. 2.As per document review the company has a written policy on the following Employment Functions: Compensation Hours of Work Retrenchment Industrial Relations and Grievance System. 3.As per document review the company had written procedures on the following Employment Functions: Personnel Development Compensation Hours of Work Retrenchment Industrial Relations and Grievance System. However there are some documents or systems in place to manage Compensation and Hours of Work. 4.As per document review the Workplace Conduct Discipline procedures included a procedure for workers to appeal disciplinary actions. 5.As per document review the factory&rsquo;s Environmental Protection policy included a statement of the factory management&rsquo;s general support of energy and water efficiency and a commitment to minimize impacts with respect to air emissions waste hazardous materials and other applicable environmental risks. The Environmental Protection procedures included procedures that enable workers to raise environmental concerns or protections against retaliation for workers who allege environmental violation. 6.As per document review the factory&rsquo;s Health Safety procedures included the following: measures to protect the reproductive health of workers through minimizing exposure to workplace hazards; procedures for workers to raise Health Safety concerns or protection against retaliation for those who do; steps on how to ensure that visitors contractors and service providers are safely evacuated; a complete chemical inventory; a list of confined spaces that require work permits; the precautions people must take prior to or during entry and stay in each confined space; and a list of equipment that requires lockout-tagout.
| 16282 | XX.23-Please refer to the assessment report for benchmark information. For assessments conducted prior to 2020 benchmark numbers reflect the FLA’s 2011 Workplace Compliance Benchmarks. | 24 - 1. The factory does not have a policy or procedures on the performance review system that includes steps and processes or demonstrates linkages to job grading prohibits discrimination provides written feedback and complies with legal requirements. Furthermore the factory does not have procedures on raising or broadening skills in order to advance workers in their careers or provide written outcomes of promotion demotion and reassignment to workers. 2. The factory does not have a written policy on the following Employment Functions: Compensation Hours of Work Retrenchment Industrial Relations and Grievance System. 3. The factory does not have written procedures on the following Employment Functions: Personnel Development Compensation Hours of Work Retrenchment Industrial Relations and Grievance System. However there are some documents or systems in place to manage Compensation and Hours of Work. 4. The Workplace Conduct & Discipline procedures do not include a procedure for workers to appeal disciplinary actions. 5. The factory’s Environmental Protection policy does not include a statement of the factory management’s general support of energy and water efficiency and a commitment to minimize impacts with respect to air emissions waste hazardous materials and other applicable environmental risks. The Environmental Protection procedures do not include procedures that enable workers to raise environmental concerns or protections against retaliation for workers who allege environmental violations. 6. The factory’s Health & Safety procedures do not include the following: measures to protect the reproductive health of workers through minimizing exposure to workplace hazards; procedures for workers to raise Health & Safety concerns or protection against retaliation for those who do; steps on how to ensure that visitors contractors and service providers are safely evacuated; a complete chemical inventory; a list of confined spaces that require work permits; the precautions people must take prior to or during entry and stay in each confined space; and a list of equipment that requires lockout-tagout. |  |  | Occupational health and safety procedure and Subcontract working procedure available. |  | 09/21/17 : on-going
| 16283 | XX.24-Please refer to the assessment report for benchmark information. For assessments conducted prior to 2020 benchmark numbers reflect the FLA’s 2011 Workplace Compliance Benchmarks. | 25 - 1. The factory does not have a policy or procedures on the performance review system that includes steps and processes or demonstrates linkages to job grading prohibits discrimination provides written feedback and complies with legal requirements. Furthermore the factory does not have procedures on raising or broadening skills in order to advance workers in their careers or provide written outcomes of promotion demotion and reassignment to workers. 2. The factory does not have a written policy on the following Employment Functions: Compensation Hours of Work Retrenchment Industrial Relations and Grievance System. 3. The factory does not have written procedures on the following Employment Functions: Personnel Development Compensation Hours of Work Retrenchment Industrial Relations and Grievance System. However there are some documents or systems in place to manage Compensation and Hours of Work. 4. The Workplace Conduct & Discipline procedures do not include a procedure for workers to appeal disciplinary actions. 5. The factory’s Environmental Protection policy does not include a statement of the factory management’s general support of energy and water efficiency and a commitment to minimize impacts with respect to air emissions waste hazardous materials and other applicable environmental risks. The Environmental Protection procedures do not include procedures that enable workers to raise environmental concerns or protections against retaliation for workers who allege environmental violations. 6. The factory’s Health & Safety procedures do not include the following: measures to protect the reproductive health of workers through minimizing exposure to workplace hazards; procedures for workers to raise Health & Safety concerns or protection against retaliation for those who do; steps on how to ensure that visitors contractors and service providers are safely evacuated; a complete chemical inventory; a list of confined spaces that require work permits; the precautions people must take prior to or during entry and stay in each confined space; and a list of equipment that requires lockout-tagout. |  |  | Procedures are available |  | 09/21/17 : on-going
| 16284 | XX.25-Please refer to the assessment report for benchmark information. For assessments conducted prior to 2020 benchmark numbers reflect the FLA’s 2011 Workplace Compliance Benchmarks. | 26 - 1. The current percentage of disabled workers is below 3% the legal minimum. There are currently only 14 disabled workers in the factory. The factory needs to hire 11 more disabled workers to meet the legal requirement based on the number of workers at the time of the assessment. 2. Job application forms contain fields such as gender marital status nationality and photo which might potentially lead to discriminatory hiring practices although there was no evidence that such information had influenced hiring decisions. 3. The factory does not have the legally required parental permission forms for one young worker. This young worker was found incidentally during the site tour; his name was not included on the factory’s personnel list. 4. The factory does not have a system for tracking the location of young workers within the factory. 5. There was some information missing from five out of 22 sampled personnel files such as salary signature or job description. | 1. Remove the fields for gender marital status nationality and photo from all job application forms. 2. Obtain the legally required parental permission forms before employing young workers. Maintain this documentation in the workers’ personnel files. |  | 1.There are 998 employees and 21 disabled employees. An application was made to Iskur B&uuml;y&uuml;k&ccedil;ekmece Service Directorate on 17.06.2019 to provide employment for disabled personnel. |  | 2.Personal benchmarks such as facial photo marital status and gender were present on the job application forms which may potentially lead to discrimination incident although verified that practically not applied. 3.As per document review and worker interviews the factory had the legally required parental permission forms for one young worker. 4.As per document review and worker interviews the factory was established a system for tracking the location of young workers within the factory. 5.As per document review there was no missing information sampled personnel files.
| 16285 | XX.26-Please refer to the assessment report for benchmark information. For assessments conducted prior to 2020 benchmark numbers reflect the FLA’s 2011 Workplace Compliance Benchmarks. | 27 - 1. The current percentage of disabled workers is below 3% the legal minimum. There are currently only 14 disabled workers in the factory. The factory needs to hire 11 more disabled workers to meet the legal requirement based on the number of workers at the time of the assessment. 2. Job application forms contain fields such as gender marital status nationality and photo which might potentially lead to discriminatory hiring practices although there was no evidence that such information had influenced hiring decisions. 3. The factory does not have the legally required parental permission forms for one young worker. This young worker was found incidentally during the site tour; his name was not included on the factory’s personnel list. 4. The factory does not have a system for tracking the location of young workers within the factory. 5. There was some information missing from five out of 22 sampled personnel files such as salary signature or job description. | 1. Remove the fields for gender marital status nationality and photo from all job application forms. 2. Obtain the legally required parental permission forms before employing young workers. Maintain this documentation in the workers’ personnel files. |  | 3% disabled workers are employed. |  | 09/21/17 : on-going
| 16286 | XX.27-Please refer to the assessment report for benchmark information. For assessments conducted prior to 2020 benchmark numbers reflect the FLA’s 2011 Workplace Compliance Benchmarks. | 28 - 1. The current percentage of disabled workers is below 3% the legal minimum. There are currently only 14 disabled workers in the factory. The factory needs to hire 11 more disabled workers to meet the legal requirement based on the number of workers at the time of the assessment. 2. Job application forms contain fields such as gender marital status nationality and photo which might potentially lead to discriminatory hiring practices although there was no evidence that such information had influenced hiring decisions. 3. The factory does not have the legally required parental permission forms for one young worker. This young worker was found incidentally during the site tour; his name was not included on the factory’s personnel list. 4. The factory does not have a system for tracking the location of young workers within the factory. 5. There was some information missing from five out of 22 sampled personnel files such as salary signature or job description. | 1. Remove the fields for gender marital status nationality and photo from all job application forms. 2. Obtain the legally required parental permission forms before employing young workers. Maintain this documentation in the workers’ personnel files. |  | Deficiencies in the file are completed |  | 09/21/17 : on-going
| 16287 | XX.28-Please refer to the assessment report for benchmark information. For assessments conducted prior to 2020 benchmark numbers reflect the FLA’s 2011 Workplace Compliance Benchmarks. | 29 - 1. The current percentage of disabled workers is below 3% the legal minimum. There are currently only 14 disabled workers in the factory. The factory needs to hire 11 more disabled workers to meet the legal requirement based on the number of workers at the time of the assessment. 2. Job application forms contain fields such as gender marital status nationality and photo which might potentially lead to discriminatory hiring practices although there was no evidence that such information had influenced hiring decisions. 3. The factory does not have the legally required parental permission forms for one young worker. This young worker was found incidentally during the site tour; his name was not included on the factory’s personnel list. 4. The factory does not have a system for tracking the location of young workers within the factory. 5. There was some information missing from five out of 22 sampled personnel files such as salary signature or job description. | 1. Remove the fields for gender marital status nationality and photo from all job application forms. 2. Obtain the legally required parental permission forms before employing young workers. Maintain this documentation in the workers’ personnel files. |  | Fingerprint reading system is available.All staff members are fingerprinting at the entrance and exit. |  | 09/21/17 : on-going
| 16288 | XX.29-Please refer to the assessment report for benchmark information. For assessments conducted prior to 2020 benchmark numbers reflect the FLA’s 2011 Workplace Compliance Benchmarks. | 30 - 1. The current percentage of disabled workers is below 3% the legal minimum. There are currently only 14 disabled workers in the factory. The factory needs to hire 11 more disabled workers to meet the legal requirement based on the number of workers at the time of the assessment. 2. Job application forms contain fields such as gender marital status nationality and photo which might potentially lead to discriminatory hiring practices although there was no evidence that such information had influenced hiring decisions. 3. The factory does not have the legally required parental permission forms for one young worker. This young worker was found incidentally during the site tour; his name was not included on the factory’s personnel list. 4. The factory does not have a system for tracking the location of young workers within the factory. 5. There was some information missing from five out of 22 sampled personnel files such as salary signature or job description. | 1. Remove the fields for gender marital status nationality and photo from all job application forms. 2. Obtain the legally required parental permission forms before employing young workers. Maintain this documentation in the workers’ personnel files. |  | New job application forms are prepared |  | 09/21/17 : on-going
| 16289 | XX.30-Please refer to the assessment report for benchmark information. For assessments conducted prior to 2020 benchmark numbers reflect the FLA’s 2011 Workplace Compliance Benchmarks. | 31 - 1. The current percentage of disabled workers is below 3% the legal minimum. There are currently only 14 disabled workers in the factory. The factory needs to hire 11 more disabled workers to meet the legal requirement based on the number of workers at the time of the assessment. 2. Job application forms contain fields such as gender marital status nationality and photo which might potentially lead to discriminatory hiring practices although there was no evidence that such information had influenced hiring decisions. 3. The factory does not have the legally required parental permission forms for one young worker. This young worker was found incidentally during the site tour; his name was not included on the factory’s personnel list. 4. The factory does not have a system for tracking the location of young workers within the factory. 5. There was some information missing from five out of 22 sampled personnel files such as salary signature or job description. | 1. Remove the fields for gender marital status nationality and photo from all job application forms. 2. Obtain the legally required parental permission forms before employing young workers. Maintain this documentation in the workers’ personnel files. |  | Young worker name was included on the factory’s personnel list and The factory does have the legally required parental permission forms for one young worker |  | 09/21/17 : on-going
| 16290 | XX.16-Please refer to the assessment report for benchmark information. For assessments conducted prior to 2020 benchmark numbers reflect the FLA’s 2011 Workplace Compliance Benchmarks. | 17 - 1. The factory does not have a system to review or update any of its existing policies and procedures for any of the Employment Functions. |  |  | Career Management Procedure Performance Evaluation Procedure Recruitment Procedure were available and Section Directors and ManagersHr Directors and Managers are responsible for the implementation of the procedures.They meet monthly. And we set a new yearly meeting with responsible of management system about reviewing procuderes |  | 09/21/17 : on-going
| 16291 | XX.17-Please refer to the assessment report for benchmark information. For assessments conducted prior to 2020 benchmark numbers reflect the FLA’s 2011 Workplace Compliance Benchmarks. | 18 - 1. The factory does not have a system to review or update any of its existing policies and procedures for any of the Employment Functions. |  |  | No action needs to be done since the factory already improved. |  | 1. As per document review and management interviews the factory was established a system to review or update any of its existing policies and procedures for any of the Employment Functions.
| 16292 | XX.31-Please refer to the assessment report for benchmark information. For assessments conducted prior to 2020 benchmark numbers reflect the FLA’s 2011 Workplace Compliance Benchmarks. | 32 - 1. The factory does not provide ongoing training on Compensation Hours of Work Termination & Retrenchment Industrial Relations Grievance System Workplace Conduct & Discipline Environmental Protection. Although the factory does provide ongoing training on Health & Safety the training content is very general and does not cover specific issues in detail such as PPE usage or chemical risks. The new Health & Safety specialist was in the process of updating the training content to for workers. 2. The factory does not provide any formal training to supervisors on any of the Employment Functions. The factory does provide verbal training to supervisors on Compensation and Recruitment Hiring & Personnel Development. No training records are kept. 3. Workers who lift heavy objects are not trained on proper lifting techniques. |  |  | Healthy and safety training have been provided. 468 employees were trained about four hours in 2016.In 2017 247 employees were trained about H&S. For employment functions we prepared and gave a booklet which includes Compensation Hours of Work Termination & Retrenchment Industrial Relations Grievance System Workplace Conduct & Disciplin. (NC-7) |  | 09/21/17 : on-going
| 16293 | XX.32-Please refer to the assessment report for benchmark information. For assessments conducted prior to 2020 benchmark numbers reflect the FLA’s 2011 Workplace Compliance Benchmarks. | 33 - 1. The factory does not provide ongoing training on Compensation Hours of Work Termination & Retrenchment Industrial Relations Grievance System Workplace Conduct & Discipline Environmental Protection. Although the factory does provide ongoing training on Health & Safety the training content is very general and does not cover specific issues in detail such as PPE usage or chemical risks. The new Health & Safety specialist was in the process of updating the training content to for workers. 2. The factory does not provide any formal training to supervisors on any of the Employment Functions. The factory does provide verbal training to supervisors on Compensation and Recruitment Hiring & Personnel Development. No training records are kept. 3. Workers who lift heavy objects are not trained on proper lifting techniques. |  |  | No action needs to be done since the factory already improved. |  | 1.As per document review the factory provided ongoing training on Compensation Hours of Work Termination Retrenchment Industrial Relations Grievance System Workplace Conduct Discipline Environmental Protection. 2.As per document review and worker interviews the factory provided any formal training to supervisors on any of the Employment Functions. The factory provided verbal training to supervisors on Compensation and Recruitment Hiring Personnel Development. Training records were kept. 3.As per worker interviews and document review workers who lift heavy objects were trained on proper lifting techniques.
| 16294 | XX.33-Please refer to the assessment report for benchmark information. For assessments conducted prior to 2020 benchmark numbers reflect the FLA’s 2011 Workplace Compliance Benchmarks. | 34 - 1. The factory does not provide ongoing training on Compensation Hours of Work Termination & Retrenchment Industrial Relations Grievance System Workplace Conduct & Discipline Environmental Protection. Although the factory does provide ongoing training on Health & Safety the training content is very general and does not cover specific issues in detail such as PPE usage or chemical risks. The new Health & Safety specialist was in the process of updating the training content to for workers. 2. The factory does not provide any formal training to supervisors on any of the Employment Functions. The factory does provide verbal training to supervisors on Compensation and Recruitment Hiring & Personnel Development. No training records are kept. 3. Workers who lift heavy objects are not trained on proper lifting techniques. |  |  | The new preapared booklet is given to all employees at the beginning of the work and employees are informed.Supervisors' trainings will be completed by the end of September and will be record. |  | 09/21/17 : on-going
| 16295 | XX.34-Please refer to the assessment report for benchmark information. For assessments conducted prior to 2020 benchmark numbers reflect the FLA’s 2011 Workplace Compliance Benchmarks. | 35 - 1. The factory does not provide ongoing training on Compensation Hours of Work Termination & Retrenchment Industrial Relations Grievance System Workplace Conduct & Discipline Environmental Protection. Although the factory does provide ongoing training on Health & Safety the training content is very general and does not cover specific issues in detail such as PPE usage or chemical risks. The new Health & Safety specialist was in the process of updating the training content to for workers. 2. The factory does not provide any formal training to supervisors on any of the Employment Functions. The factory does provide verbal training to supervisors on Compensation and Recruitment Hiring & Personnel Development. No training records are kept. 3. Workers who lift heavy objects are not trained on proper lifting techniques. |  |  | Workers who lift heavy objects are trained on proper lifting techniques in health and safety training. |  | 09/21/17 : on-going
| 16296 | XX.35-Please refer to the assessment report for benchmark information. For assessments conducted prior to 2020 benchmark numbers reflect the FLA’s 2011 Workplace Compliance Benchmarks. | 36 - 1. Although factory procedures state that disciplinary actions are processed by the Disciplinary Committee the Committee is not functional and no records of disciplinary actions are kept. Since there are no records workers do not sign written documentation of disciplinary actions taken against them. According to management the factory has not taken any disciplinary action against workers except for verbal warnings. 2. Disciplinary actions are not witnessed by a third party during imposition. |  |  | No action needs to be done since the factory already improved. |  | 1.As per document review and worker interviews the company has established and implemented for disciplinary actions as required at previous audit. 2.As per document review and worker interviews worker representatives and a lawyer were witnessed during imposition of occurred any disciplinary practice.
| 16297 | XX.36-Please refer to the assessment report for benchmark information. For assessments conducted prior to 2020 benchmark numbers reflect the FLA’s 2011 Workplace Compliance Benchmarks. | 37 - 1. Although factory procedures state that disciplinary actions are processed by the Disciplinary Committee the Committee is not functional and no records of disciplinary actions are kept. Since there are no records workers do not sign written documentation of disciplinary actions taken against them. According to management the factory has not taken any disciplinary action against workers except for verbal warnings. 2. Disciplinary actions are not witnessed by a third party during imposition. |  |  | There are witnesses in the reports |  | 09/21/17 : on-going
| 16298 | XX.37-Please refer to the assessment report for benchmark information. For assessments conducted prior to 2020 benchmark numbers reflect the FLA’s 2011 Workplace Compliance Benchmarks. | 38 - 1. Although factory procedures state that disciplinary actions are processed by the Disciplinary Committee the Committee is not functional and no records of disciplinary actions are kept. Since there are no records workers do not sign written documentation of disciplinary actions taken against them. According to management the factory has not taken any disciplinary action against workers except for verbal warnings. 2. Disciplinary actions are not witnessed by a third party during imposition. |  |  | There was no circumtances that required the disciplinary board. If any required committee will be active.. Also we prepared booklet which includes our disciplinary procedure. We publish to our workers. |  | 09/21/17 : on-going